## Summary
UNIVERSITY OF VENDA
SUMMARY: UPGRADING OF AREA LIGHTING
SECTION | DESCRIPTION | AMOUNT
1 | Preliminary and General
2 | Area Lighting
3 | Low Voltage Reticulation
| SUB TOTAL A | 0
7498847.99
CONTINGENCIES 5%
899861.7588
SUB TOTAL B
15% VAT
6598986.2312
TOTAL BID PRICE VAT INCL

## General Items
Item | Description | Unit | Quantity | Rate | Amount
PRELIMINARY AND GENERAL ITEMS
1.1 | Site Facilities and Overheads
1.1.1 | Offices and storage sheds | Sum | 1
1.1.2 | Workshops | Sum | 1
1.1.3 | Living accommodation | Sum | 1
1.1.4 | Water and Electricity | Month | 6
1.2 | Insurances
1.2.1 | Works Insurance | Sum | 1
1.2.2 | Workmen's Compensation | Sum | 1
1.2.3 | Liability Insurance | Sum | 1
1.2.4 | Perfomance Guarantee | Sum | 1
1.3 | Quality control and assurance | Month | 6
1.4 | Safety, Health and Environment
1.4.1 | Preparation of Health and Safety Plan | Sum | 1
1.4.2 | Safety, Health and Environmental Administration | Month | 6
1.4.3 | Personal protective clothing and equipment | Sum | 1
1.4.4 | Other health and safety fixed charge obligation | Sum | 1
1.6 | Trucks and Bakkies
1,6,1 | 8-Ton Crane truck | Month | 6
1,6,2 | 2-Tonner Ldv | Month | 6
1.6.3 | 1-Tonner Ldv | Month | 6
1.7 | Drawings
1.7.1 | As built drawings | Sum | 1
1.7.2 | Allowance for drawings in electronic format | Sum | 1
1.8 | Other
1.8.1 | Security | Sum | 1
1.8.2 | Clearing of site facilities upon completion | Sum | 1
1.8.3 | Supervision for duration of construction | Sum | 1
Total for installation Carried to Summary of Cost (Excl.VAT)
[5 empty] | 0 | 0

## Area Lighting
Item | Description | Unit | Quantity | Rate | Amount
2 | 30m High Mast
2.1 | 30m mounting height Highmast with brackets designed to carry 9x470W LED OMNIstar luminaries(equally around the mast) complete with foundation bolts and templates, hot dip galvanised to SANS 121 IOS 1461 specification. | each | 16
2.2 | Glass fibre Electrical distribution board IP 30,containing | each | 16
1-3P Isolator
1-3P Contactor
3-SP MCB's
1-By-pass switch
1-5Pin plug and coupler
1-Photo cell(for mounting 4m above ground level)
Neutral and earth bars
2.3 | Glass fibre splitter boxes IP 65, containing | each | 16
Klippon terminals
Earth and neutral bars
Glands and cables
2.4 | Excavation and Earthing
2,4,1 | Excavation and casting of foundations in soft pickable soil with minimum bearing pressure of 150kPa,with easy access to site and uninterupted working conditions. | each | 16
2,4,2 | Earthing of the mast which consist of 2x1.2 earth spike installed under foundation and connected to foundation bolts via 70mm²copper conductor with brass clamps | item | 16
2.4.3 | Supply and intstall 470W LED Flood lights fittings complete with lamps | each | 261
2.5 | Provisional Sums
2.5.1 | Repairs and retrofitting of existing street lights | Sum | 1
Total for installation Carried to Summary of Cost (Excl.VAT)

## LV Reticulation
ELECTRICAL INSTALLATION
Internal Installation |  | LV RETICULATION
Item | Description | Unit | Quantity | Rate | Amount
3 | Low Volatge Cable Installation
3.1 | Excavation and Trenching
General trenching workfor sleeves along the routes as pegged out on site after co-ordination with other services
Allowance must be made for the sifting of soil when required, removal and carting away of all stones and rocks including dumping off site. Backfilling and compaction shall be carried out as specified for overall siteworks.
3.1.1 | Excavation and backfilling in soft soil | m³ | 270
3.1.2 | Excavation and backfilling in hard rock-supply cable | m³ | 126
3.1.3 | Imported G5 Material | m³ | 180
3.2 | Cable and Data Sleeves
Supply and installation of PVC Sleeves through floor construction to power distribution board and communication board complete with standard radius sleeve bends
3.2.1 | 110mm Diameter for power cable | m | 200
Radius bends:
3.2.2 | 110mm Diameter | No | 10
Sub Total Carried Forward
Item | Description | Unit | Quantity | Rate | Amount
Sub Total Brought Forward
3.3 | Low Voltage PVC Cables
Supply and installation of PVC SWA PVC cable and Bare Copper Earth Wire in sleeves and in trenches
3.3.1 | 16mm2 2 core PVC SWA Cable | m | 3000
3.3.2 | 10mm2 BCEW | m | 3000
3.4 | Treminations:
3.4.1 | 16mm2 2 core PVC SWA Cable | No | 32
3.4.2 | 10mm2 BCEW | No | 32
3.5 | Electrical Tests
Making provision for the required inspection, tests and the commissioning of the complete installation and the issuing of the required certificate.
3.5.1 | High Mast Light | Sum | 16
3.6 | Others
3.6.1 | Danger Tape | m | 1000
Total for internal installation Carried to Summary of Cost (Excl.VAT)