## Sched1 PG
UNIVEN CAMPUS WATER UPGRADE PHASE 2 (including intalation of tanks per student residence)
PROJECT NUMBER: IN/022/2020
SCHEDULE 1 : PRELIMINARY AND GENERAL |  |  |  |  | IN/022/2020
ITEM | PAYM. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
NO. | REF.
| SABS | PRELIMINARY AND GENERAL
1200 A
1.1 | 8.3 | FIXED CHARGE AND VALUE RELATED ITEMS
1.1.1 | PSA 4.1 | Contractual Requirements | Sum | 1
1.1.2 | 8.3.2 | Establish facilities on the site
1.1.2.1 | 8.3.2.1 | i) Facilities for Engineer
| PSA 4.5 | a) Furnished offices (1x) and meeting facility | Sum | 1
|  | b) Contract Name board | Sum | 1
|  | c) Survey assistants and material | Sum | 1
1.1.2.2 | 8.3.2.2 | ii) Facilities for Contractor
|  | a) Offices and storage sheds | Sum | 1
|  | b) Workshops | Sum | 1
|  | c) Laboratories | Sum | 1
|  | d) Living accommodation | Sum | 1
|  | e) Ablution and latrine facilities | Sum | 1
|  | f) Tools and equipment | Sum | 1
g) Water supplies, electric power
|  | & communications | Sum | 1
|  | h) Dealing with water | Sum | 1
|  | i) Access | Sum | 1
|  | j) Plant | Sum | 1
1.1.4 | 8.3.4 | Removal of Employers Agent and Contractor's site establishment from site on completion of works.
|  |  | Sum | 1
1.2 | 8.4 | TIME RELATED ITEMS
1.2.1 | PSA 4.2 | Contractual requirements | Sum | 1
1.2.2 | 8.4.2 | Operations and maintenance of facilities on site
1.2.2.1 | 8.4.2.1 | Facilities for Employers Agent for duration of construction (SABS 1200 AB)
PSA 4.6
|  | a) Employers Agent office (boardroom) | Sum | 1
|  | b) Telephone | Sum | 1
|  | c) Name board | Sum | 1
1.2.3 | 8.4.2 | Operations and maintenance of facilities on site
1.2.3.1 | 8.4.2.2 | Facilities for the Contractor for the duration of the Contract, except where otherwise stated
|  | a) Offices and storage sheds | Sum | 1
|  | b) Workshops | Sum | 1
TOTAL CARRIED FORWARD
UNIVEN CAMPUS WATER UPGRADE PHASE 2 (including intalation of tanks per student residence)
PROJECT NUMBER: IN/022/2020 |  |  |  |  | IN/022/2020
SCHEDULE 1 : PRELIMINARY AND GENERAL
ITEM | PAYM. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
NO. | REF.
TOTAL BROUGHT FORWARD
|  | c) Laboratories | Sum | 1
|  | d) Ablution and latrine facilities | Sum | 1
|  | e) Tools and equipment | Sum | 1
|  | f) Water supplies, electric power & communications | Sum | 1
|  | g) Dealing with water | Sum | 1
|  | h) Access | Sum | 1
|  | i) Plant | Sum | 1
1.2.4 | 8.4.3 | Supervision for duration of the construction | Sum | 1
1.2.5 | 8.4.4 | Company and Head Office overhead costs for the
|  | duration of the Contract | Sum | 1
1.2.6 | 8.4.5 | Other time related obligations | Sum | 1
1.2.7 | PSA 4.3 | Excavation by hand in all materials to expose existing services
|  |  | m³ | 200
1.2.8 | PSA 4.4 | Occupational Health and Safety
Provision for the cost related to the Occupational Health and Safety Act, 85 of 1993, and the relevant Regulations:
|  | a) Preparation of a Health & safety Plan | Sum | 1
b) Compilation of a Risk Assessment prior to
|  | Construction | Sum | 1
|  | c) Health & Safety induction Training of employees | Sum | 1
d) Compilation and keeping up to date the Health &
Safety file which shall include all documentation
|  | required in terms of the act | Sum | 1
e) Implementation of the Health and Safety Plan over
|  | the entire construction period | Sum | 1
1.3 | 8.5 | SUMS STATED PROVISIONALLY BY THE ENGINEER
( NOT SUBJECTED TO ESCALATION OR RETENTION)
a) Allow provissional sum for provission dismantling
existingsteel Tank and provide a new side bottom pannel
|  | with outlet to be used for conneting with the new tank | Prov. Sum | 1 | 200000 | 200000
| 8.5 b) 2) | b) Overheads, charges and profit on 1.3 a) | % | 200000
TOTAL SCHEDULE 1 CARRIED FORWARD TO SUMMARY

## Sched 2 Reservoir Earthworks
UNIVEN CAMPUS WATER UPGRADE PHASE 2 (including intalation of tanks per student residence)
PROJECT NUMBER: IN/022/2020 |  |  |  |  | IN/022/2020
SCHEDULE 2 : RESERVOIR EARTH WORKS
ITEM | PAYM. | DESCRIPTION | UNIT | QUANT. | RATE | AMOUNT
NO. | REF.
SABS
2.1 | 1200C | SITE CLEARANCE
2.1.1 | 8.2.1 | Clear and grub and spoil to approved areas off site
|  | a) Bulk Earthworks area | ha | 0.38
|  | b) Access road | ha | 2.5
2.1.2 | 8.2.2 | Remove and grub large trees and tree stumps of girth:
|  | a) Over 1,0m and up to and including 2,0m | no | 15
2.1.3 | 8.2.10 | Remove Topsoil to a nominal depth of 150mm and stockpile
|  | a) From Bulk Earthworks area | m3 | 61.6
. | SABS
2.2 | 1200 D | BULK EXCAVATION
2.2.1 | 8.3.2 a) | Excavate in all materials and use for backfill as ordered: (Material from Cut to fill Compacted to 95% Mod AASHTO density) | m³ | 756
2.2.2 | PSD 2.2 | Excavate from stockpile and backfill to 95% Mod AASHTO density in layers not exceeding 150mm in terrace. | m³ | 0 |  | Rate Only
2.2.3 | 8.3.2 a) | Excavate in all materials and dispose off site identified by the Contractor | m³ | 692.89
2.2.4 |  | Extra over item 2.2.2 for disposing of spoil material on site provide by the Contractor | m³ | 0 |  | Rate only
2.3 |  | SOIL RAFT
2.3.1 | 8.3.4 | Extra over for importation of material for use for embarkment or backfill as ordered (150mm Layers) from: (G7 Material Compacted to 95% Mod AASHTO density) obtained from:
|  | a) Designated borrow pits (free haul = 8km) identified by the Contractor | m³ | 977 |  | Rate Only
|  | b) Commercial sources (delivered on site) | m³ | 977
2.3.2 | 8.3.3 b) | Extra-over items 3.2.1 to 3.2.2 for excavation in:
|  | a) Intermediate excavation (Designated borrow pit only) | m³ | 87 |  | Rate Only
|  | b) Hard rock excavation (Designated borrow pit only) | m³ | 24 |  | Rate Only
2.4 | PSD 2.1 | RESTRICTED EXCAVATION
|  | a) Excavate against existing buildings/structures in all materials and dispose of site | m³ | 5
2.5 | 8.3.6 | OVERHAUL
2.5.1 |  | Long overhaul in excess of 5km (designated borrow pit) | m³.km | 15632 |  | Rate Only
TOTAL CARRIED FORWARD
UNIVEN CAMPUS WATER UPGRADE PHASE 2 (including intalation of tanks per student residence)
PROJECT NUMBER: IN/022/2020
SCHEDULE 2 : RESERVOIR EARTH WORKS |  |  |  |  | IN/022/2020
ITEM | PAYM. |  | UNIT | QUANT. | RATE | AMOUNT
NO. | REF.
TOTAL BROUGHT FORWARD
2.6 | 8.3.8 | EXISTING SERVICES
| 8.3.8.2 | Dealing with services that are at risk because of the Construction of the earthworks. The rate should include for the relocation or dismantling
|  | a) Electrical and Communication Cables (Under ground) | No | 3 |  | Rate Only
|  | b) Electrical and Communication Cables (Over head) | No | 1 |  | Rate Only
|  | c) sewer and water lines | No | 3 |  | Rate Only
2.7 | SABS | TREATMENT OF PLATFORM BED
1200 DM
| 8.3.3 a) | a) Platform bed preparation and compaction of material to 90% MOD AASHTO density as ordered | m³ | 162
SABS
2.8 | 1200 ME
| 8.3.5 d) | Process Layerworks (150mm C4) by means of stabilisation | m³ | 977 |  | Rate Only
| 8.3.8 | Stabilizing agent:
|  | a) Ordinary Portland Cement (CEM 1) | t | 31 |  | Rate Only
SABS
2.9 | 1200 DM | EARTHWORKS (ROADS,SUBGRADE)
2.9.1 |  | Treatment of roadbed:
a) Roadbed preparation and compaction
of material to:
i) Minimum of 90% of modified AASHTO maximum
|  | density | m³ | 0 |  | Rate Only
SABS
2.9.2 | 1200 ME | SUBBASE
a) Construct the 150mm gravel wearing course G7
with material excavated in all materials from borrow
|  | pits identified by the Contractor and Compacetd to 93% MOD AASHTO | m³ | 0 |  | Rate Only
TOTAL SCHEDULE 2 CARRIED FORWARD TO SUMMARY

## Sched3 Conc Works
UNIVEN CAMPUS WATER UPGRADE PHASE 2 (including intalation of tanks per student residence)
PROJECT NUMBER: IN/022/2020 | [5 empty] | IN/022/2020
SCHEDULE 3 : CONCRETE (STRUCTURAL) FOR RESERVOIR
ITEM | PAYM. | DESCRIPTION |  | UNIT | TENDER | RATE | AMOUNT
NO. | REF.
SABS
3.1 | 1200 G | CONCRETE WORK
3.1.1 |  | Concrete
| 8.4.2 | Blinding layer in class 15MPa/19mm to a minimum
|  | thickness of 50mm underneath structures |  | m² | 0 |  | Rate Only
3.1.2 | 8.4.3 | Strength concrete - class 35MPa/19mm
|  | i) | Floor slabs and footings | m³ | 112
|  | ii) | Walls | m³ | 39
3.1.3 | 8.4.3 | Strength concrete - class 15MPa/19mm Mass
concrete to (provisional):
|  | i) | All structures at reservoir | m³ |  |  | Rate Only
|  | ii) | Areas too small for backfilling in soil raft to be filled | m³ |  |  | Rate Only
with mass concrete
SABS
3.2 | 1200 G | CONCRETE: Formwork
3.2.1 | 8.2.2 | Formwork - Smooth:
|  | a) | Vertical plane
|  | i) | Walls | m² | 410
3.2.2 |  | b) | Normal Narrow widths (up to 300mm wide)
|  | i) | Floor slabs and footings | m | 81
3.3 |  | REINFORCEMENT
3.3.1 | 8.3.1 | Reinforcement, high tensile steel |  | t | 21
3.3.2 | 8.3.1 | Reinforcement, mild steel |  | t | 5
3.3.3 | 8.3.2 | High tensile welded mesh - Ref No 395 (Provisional) |  | m² | 20
3.4 | 8.4.4 | Unformed surface finish
|  | a) | Wood floated finish | m² | 294
|  | b) | Steel floated finish | m² |  |  | Rate Only
SABS
1200 HA
3.5 | & PSHA | STRUCTURAL STEELWORK (Sundry Items)
3.5.1 |  | Flat bars
|  | a) | 100 x 8mm thick flat bar | m | 266
TOTAL SCHEDULE 3 CARRIED FORWARD TO SUMMARY

## Sched4 Res-Tank Pipework
UNIVEN CAMPUS WATER UPGRADE PHASE 2 (including intalation of tanks per student residence)
PROJECT NUMBER: IN/022/2020 | [5 empty] | IN/022/2020
SCHEDULE 4 : RESERVOIR INTERCONNECTING PIPEWORK
ITEM | PAYM. | DESCRIPTION |  | UNIT | TENDER | RATE | AMOUNT
NO. | REF.
SABS
4.1 | 1200DB | EXCAVATION (PIPE LINE)
4.1.1 | 8.3.2a | Excavate in all materials for trenches for 250 DN pipes
and smaller. Rates to include backfill, compact and
dispose of surplus material
|  | a) | Up to 1,0 m deep | m | 127
4.1.2 | 8.3.2b | Extra-over item 2.2 and 2.3 for:
|  | a) | Intermediate excavation (Provisional) | m³ | 0 |  | Rate only
|  | a) | Hard rock excavation (Provisional) | m³ | 0 |  | Rate only
| 8.3.2c | Excavate and dispose of unsuitable material from trench
4.1.3 |  | bottom (provisional) |  | m³ | 23
4.1.4 | 8.3.3 | Excavation ancillaries:
4.1.4.1 | 8.3.3.1 | Make up deficiency in backfill material (Provisional)
|  | a) | By importation from designated borrow pit identified by the
|  |  | Contractor | m³ | 11
4.1.5 | 8.3.3.4 | Overhaul:
|  | a) | Limited overhaul (0,5 to 1,0km) (Provisional) | m³ | 19
|  | a) | Long overhaul (Provisional) | m³/km | 114
SABS
4.2 | 1200LB | PIPE BEDDING
4.2.1 |  | Selected granular material for bedding cradle from:
| 8.2.1 | a) | Trench excavation | m3 | 114
4.2.2 |  | Provision of selected fill material from:
| 8.2.1 | a) | Trench excavation | m3 | 34
4.3 | SABS | MEDIUM PRESSURE PIPELINES
1200 L
4.3.1 |  | uPVC PRESSURE PIPE
4.3.1.1 | 8.2.1 | Supply, lay, bed, test and sterilize the following
uPVC pressure pipes (complete with coupling):
|  | a) 250 mm uPVC Class 12 |  | m | 55
|  | b) 160 mm uPVC Class 12 |  | m | 35
|  | b) 110 mm uPVC Class 12 |  | m | 37
4.3.2 |  | uPVC Specials (class 16)
| 8.2.2 | Extra over Item 3.1.1 supply, lay and bed specials,
including cutting and machining of pipes:
4.3.2.1 |  | Bends
|  | a) | 250 mm dia x 90 degrees | no | 2
|  | b) | 250mm dia x 22.5 degrees | no | 1
|  | c) | 160 mm dia x 90 degrees | no | 1
|  | d) | 160 mm dia x 22.5 degrees | no | 1
TOTAL CARRIED FORWARD
UNIVEN CAMPUS WATER UPGRADE PHASE 2 (including intalation of tanks per student residence)
PROJECT NUMBER: IN/022/2020 | [5 empty] | IN/022/2020
SCHEDULE 4 : RESERVOIR INTERCONNECTING PIPEWORK
ITEM | PAYM. | DESCRIPTION |  | UNIT | TENDER | RATE | AMOUNT
NO. | REF.
TOTAL BROUGHT FORWARD
|  | e) | 110 mm dia x 90 degrees | no | 2
|  | f) | 110 mm dia x 22.5 degrees | no | 1
4.3.2.2 |  | Equal Tee
|  | a) | 250 mm dia | no | 1
|  | b) | 160 mm dia | no | 1
|  | c) | 110 mm dia | no | 1
SABS
4.3.3 | 1200L | CONCRETE THRUST BLOCKS
4.3.3.1 | 8.2.11 | Concrete thrust block configuration
|  | a) | Concrete thrust block up to 0.5 m³ | no | 6
|  | b) | Concrete thrust block up to 1.0 m³ | no | 2
SABS
4.3.4 | 1200 L | STEEL PIPES, SPECIALS AND FITTINGS
4.3.4.1 | 8.2.5 | Supply, fabricate, deliver to site and install the following
pipes and specials Refer also PSL 4.1:
| PSL 4.1 | Wall thickness of steel pipe to be 4,5 mm minimum.
Flanges to be drilled to SANS 1123 Table 1600/3.
4.3.4.2 |  | Top Inlet pipework (Drawing L3142/C/8/003):
|  | a) | Pipe item number 1.1 (150mm ∅ MS Flanged Pipe=500mm Long) | no | 1
|  | b) | Pipe item number 1.2 (150mm ∅ MS Flanged Pipe=5000mm Long) | no | 1
|  | c) | Pipe item number 1.3(150mmØ 900 bend) | no | 2
|  | d) | Pipe item number 1.4 (160 x 150mm ∅ Reducing Flange adaptor) | no | 1
|  | e) | Pipe item number 1.5(150mm ∅ MS Flanged Pipe=1320mm Long) | no | 1
4.3.4.4 |  | Scour Outlet pipework (Drawing L3142/C/8/003):
|  | a) | Pipe item number 2.1(100mmØ 900 bend) | no | 2
|  | b) | Pipe item number 2.2 (100mm ∅ MS Flanged Pipe=500mm Long) | no | 1
|  | c) | Pipe item number 2.3 (100mm ∅ MS Flanged Pipe=600mm long) | no | 1
|  | d) | Pipe item number 2.4 (100mmØ Long Radius bend) | no | 1
|  | e) | Pipe item number 2. 5 (100mm Ø standard Flanged adaptor) | no | 1
|  | f) | Pipe item number SC 6 (100mmØ Flanged RSV Gate Valve or similar approved) | no | 1
4.3.4.2 |  | Bottom Inlet pipework (Drawing L3142/C/8/003):
|  | a) | Pipe item number 3.1 (150mm ∅ Flanged RSV Gate Valve or similar approved) | no | 1
TOTAL CARRIED FORWARD
UNIVEN CAMPUS WATER UPGRADE PHASE 2 (including intalation of tanks per student residence)
PROJECT NUMBER: IN/022/2020 | [5 empty] | IN/022/2020
SCHEDULE 4 : RESERVOIR INTERCONNECTING PIPEWORK
ITEM | PAYM. | DESCRIPTION |  | UNIT | TENDER | RATE | AMOUNT
NO. | REF.
TOTAL BROUGHT FORWARD
|  | b) | Pipe item number 3.2 (150mm ∅ MS Flanged , Length to be determined on site) | no | 1
|  | c) | Pipe item number 3.3 (150mm ∅ standard Check Valve) | no | 1
4.3.4.5 |  | Outlet pipework (Drawing L3142/C/8/003):
|  | a) | Pipe item number 4.1 (250mmØ 900 bend) | no | 2
|  | b) | Pipe item number 4.2 (250mm ∅ MS Flanged Pipe=1000mm Long) | no | 1
|  | c) | Pipe item number 4.3 (250mm ∅ MS Flanged Pipe=800mm long) | no | 1
|  | d) | Pipe item number 4.4 (250mmØ Flanged RSV Gate Valve or similar approved) | no | 1
|  | e) | Pipe item number 4.5 (250mm Ø standard Flanged adaptor) | no | 1
|  | f) | Pipe item number 4.6 (250mm Ø MS Y-Junction piece) | no | 1
|  | g) | Pipe item number 4.7 (250mm Ø long radius bend) | no | 1
4.3.4.3 |  | Overflow pipework (Drawing L3142/C/8/003):
|  | a) | Pipe item number 5.1 (100mmØ 900 bend) | no | 2
|  | b) | Pipe item number 5.2 (100mm ∅ MS Flanged Pipe=650mm Long) | no | 1
|  | c) | Pipe item number 5.3 (100mm ∅ MS Flanged Pipe=6100mm Long) | no | 1
|  | d) | Pipe item number 5.4(100mm ∅ MS Flanged Pipe=550mm Long) | no | 1
TOTAL SCHEDULE 4 CARRIED FORWARD TO SUMMARY

## Sched5 Steel Tank
UNIVEN CAMPUS WATER UPGRADE PHASE 2 (including intalation of tanks per student residence)
PROJECT NUMBER: IN/022/2020 | [5 empty] | IN/022/2020
SCHEDULE 5 : STRUCTURAL STEEL TANK
ITEM | PAYM. | DESCRIPTION |  | UNIT | TENDER | RATE | AMOUNT
NO. | REF.
5 |  | RESERVOIR
5.1 | 8.2.5 | SECTION STEEL TANK
5.1.1 |  | Supply, design and erect new 1.5Mℓ sectional steel tank on concrete standcomplete with inlet, outlet, overflow and scour connections, access ladder (outsite and inside) with protection, access cover, air vent and level indicator, complete as detailed.Installed by the sub contractor.Drawing L/3142/C/8/001
|  |  |  | Prov Sum | 1 | 1956531.5 | 1956531.5
5.1.2 |  | Contractors mark up on item 5.1.1, for making necessary applications, payments and coordinating with nominated sub--contractor for the supply and installation of the tanks
|  |  |  | % | 1956531.5
SABS
5.2 | 1200 G | MISCELLANEOUS
5.2.1 | PSHA 2.1 | Watertight testing of structures
|  | i) | Structural Steel tank | Sum | 1
5.2.2 | PSHA 2.2 | Disinfection of reservoir
|  | i) | Disinfection and cleaning of Structural steel Tank | Sum | 1
TOTAL SCHEDULE 5 CARRIED FORWARD TO SUMMARY

## Summary
UNIVERSITY OF VENDA
UNIVEN CAMPUS WATER UPGRADE PHASE 2 (including intalation of tanks per student residence)
PROJECT NUMBER: IN/022/2020
SUMMARY OF SCHEDULE OF QUANTITIES
SCHEDULE | DESCRIPTION | IN/022/2020
SCHEDULE 1 | PRELIMINARY AND GENERAL | R
SCHEDULE 2 | RESERVOIR EARTHWORKS | R
SCHEDULE 3 | CONCRETE WORKS | R
SCHEDULE 4 | RESERVOIR INTERCONNECTING PIPEWORK | R
SCHEDULE 5 | STEEL TANK | R
SUB TOTAL A |  | R
8% |  | R
The sum provided here is under the sole control of the
Engineer and may be deducted in whole or in part.
SUB TOTAL B |  | R
15% |  | R
TOTAL TENDER AMOUNT ( C) |  | R
PHEPHENG FORM OF OFFER AS TENDERED (vat inclusive) D |  | 6054775.98
DIFFERENCE BETWEEN ARITMETIC ERRORS AND APPOINTED VALUE (Vat Incl) E= D-C |  | #VALUE!
Shortfall on Fixed rates |  | #VALUE!
_____________________
SIGNATURE OF BIDDER