## Cover Page
N1054- Centre of Entrepreneurship and Nutritional Analysis Lab at the University of Venda
IMPORTANT PRICING NOTES:
The hard copy (Downloaded) Remains the Valid Tender Document
2022-06-24
Tenderers should verify the following:
| 1. | That the Quantities in the Excel document should be the same as in the hard copy
| 2. | That the formulas in the excel document are correct.

## Pricing Document
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION 1
BILL NO. 1
PRELIMINARIES
SECTION A: CONDITIONS OF CONTRACT
CORE CLAUSES
GENERAL
Action (clause 10)
Actions (clause 10.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Identified and defined terms (clause 11)
Condition of contract (clause 11.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Defined terms (clause 11.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Interpretation and the law (clause 12)
Interpretation of the law (clause 12.1 - 12.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Communication (clause 13)
Communication (clause 13.1 - 13.8)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
The Project Manager and the Supervisor (clause 14)
The Project Manager and the Supervisor (clause 14.1 - 14.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Adding to the Working Areas (clause 15)
Adding to the Working Areas (clause 15.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Early Warning (clause 16)
Early Warning (clause 16.1 - 16.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Ambiguities and inconsistencies (clause 17)
Ambiguities and inconsistencies (clause 17.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Illegal and impossible requirements (clause 18)
Illegal and impossible requirements (clause 18.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Prevention (clause 19)
Prevention (clause 19.1))
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
THE CONTRACTOR'S MAIN RESPONSIBILITIES
Providing the Works (clause 20)
Providing the Works (clause 20.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
The Contractor's design (clause 21)
The contractor's design (clause 21.1 - 21.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Using the Contractor's design (clause 22)
Using the Contractor's design (clause 22.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Design of Equipment (clause 23)
Design of Equipment (clause 23.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
People (clause 24)
People (clause 24.1 - 24.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Working with the Employer and Others (clause 25)
Working with the Employer and Others (clause 25.1 - 25.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Sub-contracting (clause 26)
Sub-contracting (clause 26.1 - 26.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Other responsibilities (clause 27)
Other responsibilities (clause 27.1 - 27.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
TIME
Starting, Completion and Key dates (clause 30)
Starting date (clause 30.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Completion date (clause 30.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Key date (clause 30.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
The Programme (clause 31)
The Programme (clause 31.1 - 31.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Revising the programme (clause 32)
Revising the programme (clause 32.1 - 32.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Access to and use of the Site (clause 33)
Access to and use of the Site (clause 33.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Instruction to stop or not to start work (clause 34)
Instruction to stop or not to start work (clause 34.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Take over (clause 35)
Take over (clause 35.1 - 35.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Acceleration (clause 36)
Acceleration (clause 36.1 - 36.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
TESTING AND DEFECTS
Testing and inspections (clause 40)
Testing and inspections (clause 40.1 - 40.6)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Testing and inspections before delivery (Clause 41)
Testing and inspection before delivery (clause 41.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Searching for and notifying Defects (Clause 42)
Searching for and notifying Defects (Clause 42.1 - 42.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Correcting Defects (Clause 43)
Correcting Defects (Clause 43.1 - 43.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Accepting Defects (clause 44)
Accepting Defects (clause 44.1 - 44.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Uncorrected Defects (clause 45)
Uncorrected Defects (clause 45.1 - 45.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
PAYMENT
Assessing the amount due (clause 50)
Assessing the amount due (clause 50.1 - 50.5)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Payment (clause 51)
Payment (clause 51.1 - 51.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Defined Cost (clause 52)
Defined Cost (clause 52.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
The Bills of Quantities (clause 55)
The bills of quantities (clause 55.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
COMPENSATION EVENTS
Compensation events (clause 60)
Compensation events (clause 60.1 - 60.7)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Notifying compensation events (clause 61)
Notifying compensation events (clause 61.1 - 61.7)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Quotation for compensation events (clause 62)
Quotation for compensation events (clause 62.1 - 62.6)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Assessing compensation events (clause 63)
Assessing compensation events (clause 63.1 - 63.13)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
The Project Manager's assessment (clause 64)
The Project Manager's assessment (clause 64.1 - 64.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Implementing compensation events (clause 65)
Implementing compensation events (clause 65.1 - 65.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
TITLE
The Employer's title to Plant and Materials (clause 70)
Plant and Materials outside the working area (clause 70.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Plant and Materials within the working area (clause 70.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Marking Equipment, Plant and Materials outside Working Areas (clause 71)
Marking Equipment, Plant and Materials outside Working Areas (clause 71.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Removing Equipment (clause 72)
Removing Equipment (clause 72.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Objects and materials within the site (clause 73)
Objects and materials within the site (clause 73.1 - 73.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
RISK AND INSURANCE
Employer's risk (clause 80)
Employer's risk (clause 80.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Contractor's risk (clause 81)
Contractor's risk (clause 81.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Repairs (clause 82)
Repairs (clause 82.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Indemnity (clause 83)
Indemnity (clause 83.1- 83.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Insurance cover (clause 84)
Insurance cover (clause 84.1 - 84.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Insurance policies (clause 85)
Insurance policies (clause 85.1 - 85.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
If the Contractor does not insure (clause 86)
If the Contractor does not insure (clause 86.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Insurance by the Employer (clause 87)
Insurance by the Employer (clause 87.1 -87.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
TERMINATION
Termination (clause 90)
Termination (clause 90.1 - 90.5)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Reasons for termination (clause 91)
Reasons for termination (clause 91.1 - 91.7)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Procedures on termination (clause 92)
Procedures on termination (clause 92.1 - 92.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Payment on termination (clause 93)
Procedures on termination (clause 93.1 - 93.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
MAIN OPTION CLAUSES
DISPUTE RESOLUTION
Option W1
Dispute Resolution (clause W1.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
The Adjudicator (clause W1.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
The Adjudication (clause W1.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Review by the Tribunal (clause W1.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
SECONDARY OPTION CLAUSES
Price adjustment for inflation (Option X1)
Defined terms (clause X1.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Price Adjustment Factor (clause X1.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Compensation Event (clause X1.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Price Adjustment (clause X1.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Changes in the law (Option X2)
Changes in the law (clause X2.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Delay damages (Option X7)
Delay damages (clause X7.1 - X7.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Perfomance bond (Option X13)
Performance bond (Option X13.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Advanced payment to the contractor (Option X14)
Advanced payment to the contractor (Option X14.1 - X14.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Limitation of the Contractor's liability for his design to reasonable skill and care (Option X15)
Limitation of the Contractor's liability for his design to reasonable skill and care (Option X15.1 - X15.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Retention (Option X16)
Retention (Option X16.1 - X16.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Low performance damages (Option X17)
Low performance damages (Option X17.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Limitation of Liability (Option X18)
Limitation of Liability (Option X18.1 - X18.5)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
CONTRACT DATA
Contractual Requirements as stated elsewhere in the document
ESTABLISHMENT OF FACILITIES ON THE SITE
Facilities for Project Manager
Furnished offices (In no 1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Name boards (In no 1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Offices and storage sheds
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Facilities for the contractor
Living accommodation
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Ablution and latrine facilities
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Tools and Equiments
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Water supplies, electric power, communication, dealing with water and access
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Other fixed charge obligations
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Removal of site establishment
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Occupational Health and safety
Allow for compliance to Occupational Health and safety specifications including, OHS testing of personnel before commencement and after completion of project, safety equipment and safety officer.
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Allow for compliance with all COVID 19 Regulations and Requirements
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
0
SECTION NO.2
BILL NO.1
ALTERATIONS
For preambles see "Model Preambles for Trades (2008 Edition)" and Supplementary preambles as specified in the Trades as well as Engineering Specifications attached to these documents.
SUPPLEMENTARY PREAMBLES
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
REMOVAL OF EXISTING WORK:
ALTERATIONS
NATURE OF WORK Tenderers are advised to visit the site and to satisfy themselves as to the nature and extent of the work to be done and provide in their tenders for any items not specifically mentioned which they may deem necessary for the proper completion of the work. Tenderers are advised that the adjacent existing buildings will be in occupation during the progress of the work and due allowance must be made for the work being carried out at such times and in such manner as will least interfere with the routine of the occupants and as may be directed by the Principal Agents
DIMENSIONS The Contractor is advised to take all dimensions affecting the existing buildings on the site, as he will be held solely responsible for all new work being of the correct sizes.
PIPES, ETC. Special care is to be taken not to interfere unnecessarily with any water supply pipes or other piping that may be met with and found necessary to disconnect or cut, are to be effectively stopped off and any new connections that may be necessary are to be made with proper fittings and to the satisfaction of the Principal Agent to whom due notice must be given of any alterations to the existing services.
PROTECTION In taking down and removing existing work the utmost care is to be observed to avoid any structural or other damage to the remaining portions of the buildings. The Contractor must also protect all work not removed such as walls, floors, doors, windows or other joinery, loose and fixed fittings and electrical appliances, etc., from damage during the progress of the work and provide all necessary materials for so doing. The Contractor will be held solely responsible for any damage to persons or property and for the safety of the structure throughout the whole of this Contract and must make good at his own expense any damage that may occur.
CREDITS, ETC. Old materials from the pulling down (except such as are described to be re-used or handed over) are to become the property of the Contractor who shall allow credit as provided for in the summary at the end of these Bills of Quantities. Old materials for re-use are to be carefully removed, stored and protected from injury including making good any damaged or defective parts as required before re fixing. Old materials described to be handed over are to be carefully removed and neatly stacked on site where directed. The remainder of the old materials and all rubbish to be immediately carted away and the site left clean and unencumbered. None of the old stock bricks form the pulling down are to be re-used for any new work.
MATERIALS, ETC. The materials to be used and work to be done to be similar in all respects to that described for new work insofar as they concur. All work in making good is to be properly jointed to the existing.
DEMOLITIONS, ETC.
REMOVAL OF EXISTING WORK
Breaking up and removing mass concrete
Concrete bases | m3 | 3 |  | 0
Breaking up and removing reinforced concrete including cutting off and removing reinforcement
Beams | m3 | 1 |  | 0
Taking out and removing doors, windows, etc including thresholds, sills, etc (building up openings elsewhere)
Timber single door and frame size 1510 x 2100mm high | No | 2 |  | 0
OPENINGS THROUGH EXISTING WALLS ETC
Breaking out for and forming openings through brick walls for new doors and frames including necessary precast concrete lintels and making good plaster on both sides and into reveals and with concrete thresholds with steel trowelled finish (new doors and frames and making good paintwork elsewhere)
Create opening size 900 x 1200mm high overall through one brick wall | No | 4 |  | 0
Create opening size 5232 x 3828mm high overall through one brick wall | No | 1 |  | 0
Create opening size 1510 x 2100mm high overall through one brick wall | No | 2 |  | 0
BUILDING UP OPENINGS
Brickwork in NFP bricks in class II mortar in building up openings
One brick walls | m2 | 6 |  | 0
Sundries
Cutting toothings and bonding new brickwork to existing | m2 | 1 |  | 0
0
SECTION NO.3
BILL NO.1
FOUNDATIONS
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
SUPPLEMENTARY PREAMBLES
Nature of ground
The nature of the ground is assumed to be sandy weathered granite, therefore "earth", but possibly interspersed with "hard rock"
Excavation for working space in rock
Notwithstanding clause 11 page 8 of the Standard System of Measuring Building Work, excavation for working space in rock will be measured in cubic metres to the extent executed and given as "extra over" bulk excavation or trench and hole excavation as the case may be
Carting away of excavated material
Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site
Filling
Notwithstanding the reference to prescribed multiple handling in clause 1 page 6 of the Standard System of Measuring Building Work, prices for filling and backfilling shall include for all selection and any multiple handling of material
Excavations
All excavations will be by hand
Concrete curing before propping
All concrete will be allowed to cure for 14 days before allowing for propping, The contractor will not prop until they have submitted concrete tests result to the Engineers for approval
Concrete mixing
All concrete to be in line with SABS1200
All site mixed concrete to have mix design approved and tested before casting
All concrete to be vibrated
No 50/50 slag cement may be used without the Engineer's approval
Reinforcement
Reinforcement steel to be supported on spacer blocks and not broken bricks or tiles
Brickwork
All brickwork to comply with SABS 0164
All bricks to have compressive strength of 7Mpa and are to be at least six (6) weeks old before being built into the walls
Sand to comply with SABS 1090
Mortar mix to be 1:6 with 10 litres of lime added per sack of cement. Alternatively masonry cement may be used
Joints
Brickwork to be provided with flush joints
All longitudinal joints to be 10mm wide and solidly caulked with mortar. Failure to comply will mean mandatory demolition
EARTHWORKS
BULK EXCAVATION, FILLING, ETC
Open face excavation in earth over sloping site
Open face excavation | m3 | 543 |  | 0
Risk of collapse of excavations
Sides of bulk excavations not exceeding 1,5m deep | m2 | 572 |  | 0
Extra over all excavations for carting away
Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 543 |  | 0
EXCAVATIONS
Excavation in earth not exceeding 2m deep
Trenches | m3 | 121 |  | 0
Extra over all excavations for carting away
Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 121 |  | 0
Risk of collapse of excavations
Sides of trench and hole excavations not exceeding 1,5m deep | m2 | 402 |  | 0
Keeping excavations free of water
Keeping excavations free of all water other than subterranean water | Item | 1 |  | 0
FILLING ETC
Earth filling of G7 material supplied by the contractor, compacted to 95% Mod AASHTO density
Under floors, steps, pavings, etc | m3 | 38 |  | 0
Prescribed density tests on filling
Mod. AASHTO Density test | No | 48 |  | 0
SOIL POISONING
Soil insecticide to be executed with SABS compliance by a firm of specialists under a 5 year guarantee
Under floors etc, including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 757 |  | 0
To bottoms and sides of trenches etc | m2 | 563 |  | 0
Weedkiller mixed in accordance to supplier's specifications
Under floors etc including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 757 |  | 0
To bottoms and sides of trenches etc | m2 | 563 |  | 0
CONCRETE, FORMWORK & REINFORCEMENT
UNREINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
15MPa/19mm concrete
Surface blinding under footings and bases | m3 | 8 |  | 0
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
30MPa/19mm concrete
Ground beams | m3 | 113 |  | 0
TEST CUBES
Allow for preparing a set of three (3) concrete strength test cubes, each size 150 x 150 x 150mm, sending them to an approved Testing Laboratory for testing and paying all charges in connection therewith. | No | 18 |  | 0
CONCRETE SUNDRIES
Stripping back head of concrete pile for a height not exceeding 300mm to expose reinforcement including trimming to defined level and bending reinforcement as necessary for casting into pile cap
250mm Diameter pile | No | 115 |  | 0
Sundries
Carefully drill 150mm deep into existing reinforced concrete ground beam for fixing of 16mm diameter reinforcement bar (rebar e/m) | No | 124 |  | 0
400mm Long x 16mm diameter high tensile reinforcement bar with 150mm length fixed to existing ground beam with "Epoxy Epidemix 372" or equivalent approved and the other cast into concrete (holes e/m) | No | 62 |  | 0
400mm Long x 16mm diameter high tensile reinforcement bar with 150mm length fixed to existing ground beam with "Epoxy Epidemix 372" or equivalent approved and the other end built into brickwork (holes e/m) | No | 62 |  | 0
REINFORCEMENT
Mild steel reinforcement to structural concrete work
10mm Diameter bars | t | 2.88 |  | 0
High tensile steel reinforcement to structural concrete work
12mm Diameter bars | t | 3.45 |  | 0
16mm Diameter bars | t | 5.18 |  | 0
0
SECTION NO.3
BILL NO.2
CONCRETE, FORMWORK AND REINFORCEMENT
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
SUPPLEMENTARY PREAMBLES
Cost of tests
The costs of making, storing and testing of concrete test cubes as required under clause 7 "Tests" of SABS 1200 G shall include the cost of providing cube moulds necessary for the purpose, for testing costs and for submitting reports on the tests to the architect. The testing shall be undertaken by an independent firm or institution nominated by the contractor and to the approval of the architect. (Test cubes are measured separately)
Breeze concrete
Breeze concrete shall consist of twelve parts clean dry furnace ash, free from coal or other foreign matter, to one part cement (12:1), the ash graded up to particles which will pass a 16,5mm ring from a minimum which fails to pass a 4,75mm mesh. The finer materials from the screening are to be first mixed with the cement into a mortar and the ash added afterwards and thoroughly incorporated
Formwork
Description of formwork shall be deemed to include use and waste only (except where described as "left in" or "permanent"), for fitting together in the required forms, wedging, plumbing and fixing to true angles and surfaces as necessary to ensure easy release during stripping and for reconditioning as necessary before re-use
The vertical strutting shall be carried down to such construction as is sufficiently strong to afford the required support without damage and shall remain in position until the newly constructed work is able to support itself
Formworks to soffits of solid slabs etc shall be deemed to be slabs not exceeding 250mm thick unless otherwise described
Formwork to soffits of slabs, beams, etc shall be deemed to be propped up exceeding 1,5m and not exceeding 3,5m high unless otherwise described
Formwork to sides of bases, pile caps, ground beams, etc will only be measured where it is prescribed by the engineer for design reasons. Formwork necessitated by irregularity or collapse of excavated faces will not be measured and the cost thereof shall be deemed to be included in the allowance for taking the risk of collapse of the sides of the excavations, provision for which is made in "Earthworks"
Concrete curing before propping
All concrete will be allowed to cure for 14 days before allowing for propping, The contractor will not prop until they have submitted concrete tests result to the Engineers for approval
Concrete mixing
All concrete to be in line with SABS1200
All site mixed concrete to have mix design approved and tested before casting
All concrete to be vibrated
No 50/50 slag cement may be used without the Engineer's approval
Reinforcement
Reinforcement steel to be supported on spacer blocks and not broken bricks or tiles
Propping of structures
Propping will be approved by the Engineers prior to casting
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
30MPa/19mm concrete
Surface beds cast in panels on waterproofing | m3 | 91 |  | 0
Extra over for concrete thickening in surface beds size approximately 100mm deep, 300mm at top and tapering both sides to 200mm at bottom, including all excavations, cart away, etc. | m | 14 |  | 0
REINFORCED CONCRETE
30MPa/19mm concrete
Slabs including beams and inverted beams | m3 | 10 |  | 0
TEST CUBES
Allow for preparing a set of three (3) concrete strength test cubes, each size 150 x 150 x 150mm, sending them to an approved Testing Laboratory for testing and paying all charges in connection therewith. | No | 30 |  | 0
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a wood float/steel trowel
Surface beds, slabs, etc | m2 | 757 |  | 0
Finishing top surfaces of concrete smooth with a power float
Surface beds, slabs, etc | m2 | 77 |  | 0
MOVEMENT JOINTS ETC
Saw cut joints
5 x 10mm Saw cut joints in top of concrete | m | 125 |  | 0
Joint forming material in movement joints:
10mm Bitumen impregnated fibre board not exceeding 300mm wide | m | 407 |  | 0
SMOOTH FORMWORK (DEGREE OF ACCURACY II)
Smooth formwork to soffits
Slabs propped up exceeding 3,5m and not exceeding 6,5m high | m2 | 77 |  | 0
MOVEMENT JOINTS ETC
Abe Construction Chemicals
225mm Wide two (2) layers three (3) ply malthoid between horizontal concrete and brickwork | m | 47 |  | 0
REINFORCEMENT
Fabric reinforcement
Steeledale Mesh standard square fabric mesh, nominal mass 1,0 kg/m² with nominal 5,6mm thick wires and 200 x 200mm pitch (Ref 100), complying with SANS 1024/2006 requirements, in sheets 2,4 x 6m long. | m2 | 757 |  | 0
Steeledale Mesh standard square fabric mesh, nominal mass 3,95kg/m² with nominal 5,6mm thick wires and 200 x 200mm pitch (Ref 395), complying with SANS 1024/2006 requirements, in sheets 2,4 x 6m long. | m2 | 77 |  | 0
0
SECTION NO.3
BILL NO.3
MASONRY
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
SUPPLEMENTARY PREAMBLES
BRICKWORK
Sizes in descriptions
Where sizes in descriptions are given in brick units, "one brick" shall represent the length and "half brick" the width of a brick
Linings to concrete
Descriptions of linings to concrete, unless otherwise described, shall be deemed to include wire ties
Hollow walls etc
Descriptions of hollow walls shall be deemed to include 250mm long stainless steel or galvanized wire ties three (3) every square meter
Reinforced brick lintels
Lintels shall bear at least 160mm onto adjacent walling. Where such bearing cannot be obtained due to the proximity of adjacent openings the lintel shall be continuous
Brickwork
All brickwork to comply with SABS 0164
All bricks to have compressive strength of 7Mpa and are to be at least six (6) weeks old before being built into the walls
Sand to comply with SABS 1090
Mortar mix to be 1:6 with 10 litres of lime added per sack of cement. Alternatively masonry cement may be used
Joints
Brickwork to be provided with flush joints
All longitudinal joints to be 10mm wide and solidly caulked with mortar. Failure to comply will mean mandatory demolition
SAMPLES
Samples of all masonry building units, shall consist of a minimum of 6 units
BRICKWORK
SUPERSTRUCTURE
Brickwork of NFX bricks (7 MPa nominal compressive strength) in class II mortar
Half brick walls | m2 | 33 |  | 0
One brick walls | m2 | 994 |  | 0
Brick-on-edge walls | m2 | 136 |  | 0
One and half brick walls | m2 | 148 |  | 0
BRICKWORK SUNDRIES
Brickwork reinforcement
75mm Wide reinforcement built in horizontally | m | 256 |  | 0
150mm Wide reinforcement built in horizontally | m | 8089 |  | 0
225mm Wide reinforcement built in horizontally | m | 71 |  | 0
Allied Concrete prestressed fabricated lintels
110 x 70mm Lintels in lengths not exceeding 3m | m | 28 |  | 0
Turning pieces
230mm Wide turning pieces to lintels etc | m | 26 |  | 0
Holes:
Leave or form opening through one brickwall for pipe n.e 100mm diameter | No | 11 |  | 0
Leave or form opening through one brickwall for pipe exceeding 100 and not exceeding 200mm diameter | No | 7 |  | 0
Galvanised hoop iron cramps, ties, etc
Drill 26mm diameter hole | No | 12 |  | 0
100 x 150 x 8mm Thick flat bars twice drilled for anchor bolts (bolts and holes e/m) | No | 24 |  | 0
125 x 75 x 8mm Angle iron | m | 15 |  | 0
24mm x 300mm Chemical anchors | No | 12 |  | 0
FACE BRICKWORK
Face clay face brick, size 222 x 106 x 73mm, bedded and jointed in Class II mortar and pointed with recessed vertical and recessed horizontal joints, suitable for exposure zone 1-2 (PC Amount R10 000-00/1000 VAT excl. supplied and delivered to site)
Extra over brickwork for face brickwork | m2 | 604 |  | 0
Half brick wall faced both sides | m2 | 6 |  | 0
Extra over brickwork for brick-on-edge header course lintel pointed on face and 110mm soffit | m | 36 |  | 0
Fair cutting and fitting around pipe not exceeding 100mm diameter | No | 11 |  | 0
Fair cutting and fitting around pipe exceeding 100mm and not exceeding 200mm diameter | No | 7 |  | 0
Brick-on-edge header course coping, sills, etc of (PC Amount R10 000-00/1000 VAT excl. supplied and delivered to site) face bricks pointed with recessed joints on all exposed faces
230mm Wide sill set sloping and slightly projecting | m | 12 |  | 0
Coping on top of one brick wall | m | 28 |  | 0
0
SECTION NO.3
BILL NO.4
WATERPROOFING
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
DAMPPROOFING OF WALLS AND FLOORS
Gundle Gunplas DPC 250 Blue Black damp proof course in walls to Agrement Certificate 2001/284 laid with minimum 150mm overlaps.
In walls | m2 | 74 |  | 0
Gundle USB Green co ex 250µm damp proof membrane under concrete surface beds to SANS mark 952-1985 type C laid with minimum 150mm overlaps and sealed with Gunplas pressure sensitive tape.
Under surface beds | m2 | 757 |  | 0
JOINT SEALANTS, ETC
Silicone sealing compound including backing cord, bond breaker, primer, etc
10 x 50mm In saw cut joints including raking out of expansion joint filler as necessary | m | 125 |  | 0
10 x 20mm In isolation joints including raking out of expansion joint filler as necessary | m | 407 |  | 0
0
SECTION NO.3
BILL NO.5
CARPENTRY AND JOINERY
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
SUPPLEMENTARY PREAMBLES
Particle board:
Particle board shall comply with the following specifications: a) SABS 1300 Particle board: exterior and flooring type b) SABS 1301 Particle board: interior type
Joinery:
Descriptions of frames shall be deemed to include frames, transomes, mullions, rails, etc
Descriptions of hardwood joinery shall be deemed to include pelleting of bolt holes
Fixing
Items described as "nailed" shall be deemed to be fixed with hardened steel nails or shot pins to brickwork or concrete
Decorative laminate finish:
Laminate finish shall be glued under pressure. Edge strips shall be butt jointed at junctions with adjacent similar finish
SKIRTINGS
Wrought meranti
19 x 70mm Skirting nailed to wall at 400mm cc with 50mm steel nails and including 19mm quarter round nailed to skirting with 25mm headless nails at 300mm centres maximum with all nail heads filled and finished flush | m | 476 |  | 0
DOORS, ETC
40mm Semi-solid core interior door with masonite cladding both sides suitable for painting
Door size 900 x 2100mm high (D6) | No | 1 |  | 0
Door size 813 x 2100mm high cut 100mm at bottom (D5) | No | 6 |  | 0
40mm Solid core flush panel doors with masonite veneer hung to steel frames
Door size 813 x 2068mm high (D1,D2) | No | 10 |  | 0
Door size 813 x 2100mm high (D4) | No | 2 |  | 0
Double door 1369 x 2040mm high, with two equal leaves, each leaf with rebated meeting edges (D7) | No | 1 |  | 0
Double door 1510 x 2100mm high, with two equal leaves, each with rebated meeting edges (D3) | No | 3 |  | 0
SUNDRIES
Cut opening in 40mm solid door for louvre opening 450 x 300mm high (D6) | No | 1 |  | 0
Cut opening in 40mm solid door for louvre opening 620 x 400mm high (D2,D4) | No | 10 |  | 0
0
SECTION NO.3
BILL NO.6
IRONMONGERY
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
SUPPLEMENTARY PREAMBLES
Descriptions
Items described as "plugged" shall be deemed to include screwing to fibre, plastic or metal plugs
EN-SUITE LOCKS
TYPE 1 - (D1,D2,D8-PARTITION)
Dormakaba Tubular Stainless Steel 155mm long spring loaded lever handle in Stainless Steel finish (Code: TH120BP cylinder). | No | 24 |  | 0
Dormakaba Stainless Steel cylinder sash lock (Code: D036S) with 57mm backset. | No | 12 |  | 0
Dormakaba Satin Nickel 63mm - 31.5 + 31.5mm Grand master keyed E-SP 5 Pin Knob cylinder (Code: DKC206301GMK). | No | 12 |  | 0
Dormakaba Nickel Plated floor mounted door stop (Code: DDS-NP-018), size 24 x 45mm fixed in accordance with the manufacturer's recommendations. | No | 12 |  | 0
TYPE 2 (D4)
Dormakaba mechanical hold open TS 91B HO-SL cam action slide channel door closer (Code: TS 91B HO-SL) with a closing force of EN 3 for maximum 950mm wide door. Door closer compliant with EN 1154, and CERTI FIRE approved (Certificate No.CF 119) for door types ITT 120, MM/IMM 240 (ISO 9001) | No | 2 |  | 0
Dormakaba Tubular straight Stainless Steel bolt through pull handle (Code: DPH210BT), size 30mm diameter x 300mm long. | No | 2 |  | 0
Dormakaba grade 430 Stainless Steel plate (Code: DPP-430-BL), size 150 x 300 x 1,2mm with 6 (six) counter-sunk fixing holes plugged and screwed with aluminium screws. | No | 2 |  | 0
Dormakaba Stainless Steel cylinder deadlock (Code: D037D) with 57mm backset. | No | 2 |  | 0
Dormakaba Brass 40.5mm grand master keyed E-SP 5 pin single cylinder (Code: DSC204101GMK). | No | 2 |  | 0
Dormakaba 52mm diameter Stainless Steel cylinder escutcheon (Code: DCE-002). | No | 2 |  | 0
Dormakaba Nickel Plated floor mounted door stop (Code: DDS-NP-018), size 24 x 45mm fixed in accordance with the manufacturer's recommendations. | No | 2 |  | 0
Dormakaba "Male " engraved grade 304 Stainless Steel sign (Code: DSS-130), size 150 x 150 x 1,2mm with counter-sunk fixing holes plugged and screwed with aluminium screws. | No | 1 |  | 0
Dormakaba "Female" engraved grade 304 Stainless Steel sign (Code: DSS-131), size 150 x 150 x 1,2mm with counter-sunk fixing holes plugged and screwed with aluminium screws. | No | 1 |  | 0
TYPE 3 - (D5)
Dormakaba grade 430 Stainless Steel plate (Code: DPP-430-BL), size 150 x 300 x 1,2mm with 6 (six) counter-sunk fixing holes plugged and screwed with aluminium screws. | No | 6 |  | 0
Dormakaba Tubular straight Stainless Steel bolt through pull handle (Code: DPH301C) fixed on grade 430 Stainless Steel plate, size 150 x 300 x 1,2mm with 6 (six) counter-sunk fixing holes plugged and screwed with aluminium screws. | No | 6 |  | 0
Dormakaba M4 patent male/female fixing screws | No | 36 |  | 0
Dormakaba Stainless Steel bathroom deadlock (Code: DMWC-SS-008) with 55mm backset. | No | 6 |  | 0
Dormakaba 52 x 52mm Stainless Steel square bathroom WC bolt set (Code: DWC-006). | No | 6 |  | 0
Dormakaba Stainless Steel hat and coat hook with rubber buffer (Code: DHC-SS-031), size 70 x 25 x 80mm fixed in accordance with the manufacturer's recommendations. | No | 6 |  | 0
TYPE 4 (D6)
Dormakaba non hold open code TS 73V PA DC-PAB-SL rack and pinion projecting arm door closer with a closing force of EN 2-4 for maximum 1 100mm wide door. | No | 1 |  | 0
Dormakaba Tubular straight Stainless Steel bolt through pull handle (Code: DPH301BBT), size 25mm diameter x 325mm long. | No | 2 |  | 0
Dormakaba M4 patent male/female fixing screws | No | 12 |  | 0
Dormakaba Stainless Steel bathroom deadlock (Code: D032D) with 57mm backset. | No | 1 |  | 0
Dormakaba 52 x 52mm Stainless Steel square bathroom WC bolt set (Code: DWC-006). | No | 1 |  | 0
Dormakaba Nickel Plated floor mounted door stop (Code: DDS-NP-018), size 24 x 45mm fixed in accordance with the manufacturer's recommendations. | No | 1 |  | 0
Dormakaba grade 430 Stainless kick plate (Code: DKP-430-SF), size 300 x 900 x 1,2mm with 12 (twelve) counter-sunk fixing holes plugged and screwed with aluminium screws. | No | 2 |  | 0
Dormakaba "Male/Female" engraved grade 304 Stainless Steel sign (Code: DSS-132MF), size 150 x 150 x 1,2mm with counter-sunk fixing holes plugged and screwed with aluminium screws. | No | 1 |  | 0
Dormakaba "Disabled" engraved grade 304 Stainless Steel sign (Code: DSS-133), size 150 x 150 x 1,2mm with counter-sunk fixing holes plugged and screwed with aluminium screws. | No | 1 |  | 0
TYPE 5 - (D7)
Dormakaba mechanical hold open TS 91B cam action slide channel door closer (Code: TS 91B HO) with a closing force of EN 3 for maximum 950mm wide door. | No | 2 |  | 0
Dormakaba surface mounted door coordinator (Code: SR392), fitted in accordance with manufacturer's recommendations. | No | 1 |  | 0
Dormakaba Tubular straight Stainless Steel bolt through pull handle (Code: DPH210BT), size 30mm diameter x 300mm long. | No | 2 |  | 0
Dormakaba grade 430 Stainless Steel plate (Code: DPP-430-BL), size 150 x 300 x 1,2mm with 6 (six) counter-sunk fixing holes plugged and screwed with aluminium screws. | No | 2 |  | 0
Dormakaba Stainless Steel cylinder deadlock (Code: D037D) with 57mm backset. | No | 1 |  | 0
Dormakaba Satin Nickel 63mm - 31.5 + 31.5mm Grand master keyed E-SP 5 Pin double cylinder (Code: DDC206301GMK). | No | 1 |  | 0
Dormakaba 52mm diameter Stainless Steel cylinder escutcheon (Code: DCE-002). | No | 1 |  | 0
Dormakaba Nickel Plated Rebate conversion kit for Euro Profile locks (Code: D038R). | No | 1 |  | 0
Dormakaba Satin Chrome flush bolt with heel and let set into concrete (Code: DFB-SC-180), size 48 x 19 x 153mm fixed in accordance with the manufacturer's recommendations. | No | 1 |  | 0
Dormakaba Satin Chrome flush bolt with heel and let set into metal (Code: DFB-SC-180), size 48 x 19 x 153mm fixed in accordance with the manufacturer's recommendations. | No | 1 |  | 0
Dormakaba Stainless Steel dust proof strike (Code: DPS-SS-032), size 38 x 19mm fixed in accordance with the manufacturer's recommendations. | No | 1 |  | 0
Dormakaba Nickel Plated floor mounted door stop (Code: DDS-NP-018), size 24 x 45mm fixed in accordance with the manufacturer's recommendations. | No | 2 |  | 0
TYPE 6 (D3,D3 ON PARTITION)
Dormakaba Tubular Stainless Steel 155mm long spring loaded lever handle in Stainless Steel finish (Code: TH120BP cylinder). | No | 8 |  | 0
Dormakaba Stainless Steel cylinder sash lock (Code: D036S) with 57mm backset. | No | 4 |  | 0
Dormakaba Satin Nickel 63mm - 31.5 + 31.5mm Grand master keyed E-SP 5 Pin double cylinder (Code: DDC206301GMK). | No | 4 |  | 0
Dormakaba Nickel Plated Rebate conversion kit for Euro Profile locks (Code: D038R). | No | 4 |  | 0
Dormakaba Satin Chrome flush bolt with heel and let set into concrete (Code: DFB-SC-180), size 48 x 19 x 153mm fixed in accordance with the manufacturer's recommendations. | No | 4 |  | 0
Dormakaba Satin Chrome flush bolt with heel and let set into metal (Code: DFB-SC-180), size 48 x 19 x 153mm fixed in accordance with the manufacturer's recommendations. | No | 4 |  | 0
Dormakaba Nickel Plated Rebate conversion kit for Euro Profile locks (Code: D038R). | No | 4 |  | 0
Dormakaba Stainless Steel dust proof strike (Code: DPS-SS-032), size 38 x 19mm fixed in accordance with the manufacturer's recommendations. | No | 4 |  | 0
Dormakaba Nickel Plated floor mounted door stop (Code: DDS-NP-018), size 24 x 45mm fixed in accordance with the manufacturer's recommendations. | No | 8 |  | 0
TYPE 7 - (ALO1,AL02)
Dormakaba mechanical hold open TS 91B cam action slide channel door closer (Code: TS 91B HO) with a closing force of EN 3 for maximum 950mm wide door. | No | 4 |  | 0
Dormakaba surface mounted door coordinator (Code: SR392), fitted in accordance with manufacturer's recommendations. | No | 2 |  | 0
Dormakaba Tubular offset Stainless Steel back-to-back pull handle (Code: DPH217BTB), size 25mm diameter x 590mm long. | No | 8 |  | 0
Dormakaba Stainless Steel narrow stile dead lock operating with european profile cylinder (Code: D02735) with 35mm backset. | No | 2 |  | 0
Dormakaba Satin Nickel 63mm - 31.5 + 31.5mm Grand master keyed E-SP 5 Pin double cylinder (Code: DDC206301GMK). | No | 2 |  | 0
Dormakaba 30 x 64mm Stainless Steel narrow style cylinder escutcheon (Code: DCE-105). | No | 4 |  | 0
Dormakaba Stainless Steel dust proof strike (Code: DPS-SS-032), size 38 x 19mm fixed in accordance with the manufacturer's recommendations. | No | 2 |  | 0
Dormakaba Nickel Plated floor mounted door stop (Code: DDS-NP-018), size 24 x 45mm fixed in accordance with the manufacturer's recommendations. | No | 4 |  | 0
BATHROOM FITTINGS
Kimberly Clark
MR2 Stainless Steel Toilet Tissue Dispenser stainless steel (Code: SA426130), overall size 130 x 135 x 256mm high, installed by a Kimberly Clark® installation team. | No | 7 |  | 0
KIMBERLY-CLARK PROFESSIONAL* Electronic Foam Soap and Sanitiser Dispenser colour White (Code: U9214700), overall size 190 x 290 x 100mm high, installed by a Kimberly Clark® installation team. | No | 3 |  | 0
Stainless Steel Disposer (Code: SA426135), overall size 345 x 290 x 390mm high, installed by a Kimberly Clark® installation team. | No | 3 |  | 0
Franke
Franke HF2400HD 1,2/1,5mm thick satin finished stainless steel automatic hands free hand dryer (Code: 2500001), size 280 x 207 x 245mm high with 2 vandal proof lock screws and key wrench, plugged and screwed to the wall with stainless steel screws, 200 W motor connected to 230/240 volt power supply. With 5 year warranty. | No | 3 |  | 0
Franke CNTX750 Grade 304 18/10 stainless steel 32mm diameter straight grab rail with Franke fine grip (Code: 2510006) 750mm x 95mm deep, plugged and screwed to the wall with stainless steel screws. | No | 1 |  | 0
Franke CNTX21 Grade 304 18/10 stainless steel 32mm diameter angle bar with Franke fine grip (Code: 2510008), size 415 x 415 x 95mm deep, plugged and screwed to the wall with stainless steel screws. | No | 1 |  | 0
Servest
Servest Hygiene Ocean Femmé Sanitary Bin (Code: DIS-BINNS-005), overall size 180 x 520 x 345mm deep, plugged and screwed to wall with stainless steel screws. | No | 5 |  | 0
SUNDRIES
Emseal
Anodised aluminium cover strip fixed over expansion joints in floors (PC Amount R75-00/m Vat excl. supplied) | m | 5 |  | 0
Anodised aluminium edge trim fixed over tile joints in floors (PC Amount R75-00/m Vat excl. supplied) | m | 2 |  | 0
DOOR GRILLES
Trox Technik natural anodised aluminium finished louvres
Trox or similar approved natural aluminium door louvre size 450 x 300mm high (D6) | No | 1 |  | 0
Trox or similar approved natural aluminium door louvre size 620 x 400mm high (D2,D4) | No | 10 |  | 0
0
SECTION NO.3
BILL NO.7
METALWORK
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
SUPPLEMENTARY PREAMBLES
Descriptions
Descriptions of bolts shall be deemed to include nuts and washers Descriptions of expansion anchors and bolts and chemical anchors and bolts shall be deemed to include nuts, washers and mortices in brickwork or concrete Metalwork described as"holed for bolt(s)" shall be deemed to exclude the bolts unless otherwise described
Drawings
Tenderers are referred to architect's drawings annexed to this document for full details of the windows, doors, etc
Drawings
Tenderers are referred to architect's drawings annexed to these bills of quantities for full details of windows, doors, etc
Pricing.
All window prices should include alluminium louvres as shown
General
Workshop drawings to be approved by the architect before manufacture
SUPPORT ANGLES
Welded columns in single lengths with flat section base, top, bearer and connection plates bolted to concrete
Two (2) x 150 x 100 x 10kg/m Hot dipped galvanised angle section welded back to back laid in brickwork as lintels above openings | m | 13 |  | 0
PRESSED STEEL DOOR FRAMES
1,2mm Double rebated frames suitable for half brick walls
Frame for door size 813 x 2068mm high (D2) | No | 2 |  | 0
Frame for door size 813 x 2100mm high cut 100mm short at the bottom (D5) | No | 6 |  | 0
1,2mm Double rebated frames suitable for one brick walls
Frame for door size 813 x 2068mm high (D1,D2) | No | 8 |  | 0
Frame for door size 813 x 2100mm high (D4) | No | 2 |  | 0
Frame for door size 900 x 2100mm high (D6) | No | 1 |  | 0
Frame for door size 1369 x 2040mm high (D7) | No | 1 |  | 0
Frame for door size 1510 x 2100mm high (D3) | No | 1 |  | 0
Frame for door size 1510 x 2100mm high set in created openings (openings e/m) (D3) | No | 2 |  | 0
ALUMINIUM WINDOWS, DOORS, ETC.
Purpose made aluminium doors, sidelights and fanlights glazed with laminated safety glass and plugged to brickwork or concrete
Anodized aluminium window 600 x 900mm high (W01) (PC Amount R1 500-00 each VAT excl. supplied, delivered and installed on site by an approved specialist) | No | 8 |  | 0
Anodized aluminium window 900 x 1200mm high (W02) (PC Amount R2 000-00 each VAT excl. supplied, delivered and installed on site by an approved specialist) | No | 12 |  | 0
Purpose made aluminium window size 600 x 3350mm high (AL04) (PC Amount R6 100-00 each VAT excl. supplied, delivered and installed on site by an approved specialist) | No | 14 |  | 0
Purpose made aluminium window size 4410 x 3005mm high (AL05) (PC Amount R34 700-00 each VAT excl. supplied, delivered and installed on site by an approved specialist) | No | 1 |  | 0
Purpose made aluminium door size 3930 x 3605mm high inclusive of preparation of doors for ironmongery (e/m) (AL01) (PC Amount R44 200-00 each VAT excl. supplied, delivered and installed on site by an approved specialist) | No | 1 |  | 0
Purpose made aluminium door size 4470 x 3605mm high inclusive of preparation of doors for ironmongery (e/m) (AL02) (PC Amount R52 700-00 each VAT excl. supplied, delivered and installed on site by an approved specialist) | No | 1 |  | 0
Purpose made aluminium window size 5232 x 3828mm high (AL03) (PC Amount R54 300-00 each VAT excl. supplied, delivered and installed on site by an approved specialist) | No | 1 |  | 0
0
SECTION NO.3
BILL NO.8
PLASTERING
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
SUPPLEMENTARY PREAMBLES
Plastering of concrete soffits
The plasterer should make sure that the surface to be plastered does not deviate from the required plane by more than 10mm. All high areas should be removed by hacking or cutting. Fill low areas by applying undercoats of plaster not exceeding 15m in thickness, apply one coat plaster to surface, leave to stiffen, strike off with a striker board, and wood float to an even surface and to a thickness of 10 - 15mm thick.
SCREEDS
Screeds on concrete
20mm Thick on floors and landings | m2 | 132 |  | 0
25mm Thick on floors and landings | m2 | 632 |  | 0
Granolithic Screeds
30mm Thick on floors and landings | m2 | 1 |  | 0
Grano skirting 75mm high | m | 4 |  | 0
INTERNAL PLASTER
Cement plaster on brickwork
On walls | m2 | 1653 |  | 0
On walls in patches | m2 | 6 |  | 0
On narrow widths | m2 | 23 |  | 0
EXTERNAL PLASTER
Cement plaster on brickwork
On walls in patches | m2 | 6 |  | 0
0
SECTION NO.3
BILL NO.9
TILING
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
WALL TILING
300 x 600 x 11,5mm Porcelain tiles flush pointed with tinted jointing compound on brickwork including cement (PC R250,00/m2 Vat excl. supplied)
On walls | m2 | 214 |  | 0
On narrow widths, etc. | m2 | 4 |  | 0
Fair exposed cutting and fitting around pipe not exceeding 100mm diameter | No | 11 |  | 0
Fair exposed cutting and fitting around pipe exceeding 100mm and not exceeding 200mm diameter | No | 7 |  | 0
240 x 240 x 11,5mm Terracotta ceramic tiles flush pointed with tinted jointing compound on brickwork including cement (PC R300-00/m2 Vat excl. supplied)
External window sills formed of cut tiles to size 110mm wide | m | 17 |  | 0
FLOOR TILING
600 x 600 x 11,5mm Non-slip porcelain floor tiles (PC R250-00/m2 VAT excl supplied) fixed with Ceresit Tylon adhesive to screeds (screeds elsewhere) with straight joints in both direction flush pointed with Ceresit Tylon 33 tinted jointing compound
On floors and landings | m2 | 132 |  | 0
Skirting of 600 x 150mm high cut tile | m | 64 |  | 0
EDGES, ETC.
Sundries
Aluminium edge strip on top of cut skirting (PC Amount R40-00/m Vat excl. supplied and delivered to site) | m | 64 |  | 0
0
SECTION NO.3
BILL NO.10
GLAZING
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
MIRRORS, ETC
6mm Silvered float glass copper backed mirrors with polished edges, holed for and fixed with chromium plated dome capped mirror screws with rubber buffers to plugs in brickwork or concrete
Mirror 500 x 900mm high with four (4) screws | No | 9 |  | 0
0
SECTION NO.3
BILL NO.11
PAINTWORK
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
PREPARATORY WORK TO EXISTING WORK
Previously painted plastered surfaces
Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth
Previously painted metal surfaces
Surfaces shall be thoroughly rubbed and cleaned down. Blistered or peeling paint shall be completely removed down to bare metal
Previously painted wood surfaces
Surfaces shall be thoroughly cleaned down. Blistered or peeling paint shall be completely removed and cracks and crevices shall be primed, filled with suitable filler and finished smooth
PAINTWORK ETC TO NEW WORK
ON FLOATED PLASTER
Plascon Professional Superior Matt to interior new cement plaster.Surface to be dry, sound and clean and cured for a minimum of 14 days, with a moisture content measured with a Doser Hygrometer (or equivalent), of BD 2 scale - 8% or less. Prime with two coat Professional Plaster Primer (PP700) with an overcoating time of 16 hours and finish with two coats Professional Superior Matt (PEM 950) with 2 hours drying time between coats, for a maintenance cycle of 7 years in a C1 - inland environment.• Environment : C1 - inland• Topcoat : Professional Superior Matt• Number of coats of topcoat : two coats• Overcoating time for topcoat : 2,00 hour• Primer/Base coat : Professional Plaster Primer • Overcoating time for primer/base coat : 16,00 hour• Specification document : NW107t.
On internal walls | m2 | 1459 |  | 0
ON METAL
Duragloss 100 Enamel long oil alkyd paint to interior shop primed mild steel.Surface to be clean, dry and rust free. Prime surface with one coat Dulux Corrocote 1 (Code: D193-0839) with an overcoating time of 4 hours, undercoat with one coat Dulux Universal Undercoat (Code: D196-0763) with an overcoating time of 18 hours and finish with two coats Duragloss 100 Enamel (Code: M371-0734) with an overcoating time of 18 hours.
On door frames | m2 | 45 |  | 0
ON WOOD
Plascon Professional Eggshell Enamel to interior new wood.Surface to be dry, sound and clean. Wash knots and resinous areas with Lacquer Thinners (ILS 1) and coat with Woodcare Knot Seal (PK 2) and apply one coat of Plascon Woodcare Pretreatment (WWP 1), overcoated within 48 hours with a moisture content, measured with a Doser Hygrometer (or equivalent), of BD 2 scale (A1-A5) < 14% or less. Prime with one coat Professional Wood Primer (PP 800) with an overcoating time of 16 hours and finish with two coats Professional Eggshell Enamel (PSB 700) with 16 hours drying time between coats, for a maintenance cycle of 5 years in a C1 - inland environment.
On doors | m2 | 109 |  | 0
Plascon Woodcare Coloured Varnish to interior new wood.Surface to be dry, sound and clean. Wash knots and resinous areas with Lacquer Thinners (ILS 1) and coat with Woodcare Knot Seal (PK 2) and apply one coat of Plascon Woodcare Pretreatment (WWP 1), overcoated within 48 hours with a moisture content, measured with a Doser Hygrometer (or equivalent), of BD 2 scale (A1-A5) < 14% or less. Prime with one coat Woodcare Coloured Varnish (VSN) with an overcoating time of 16 hours and finish with two coats Woodcare Coloured Varnish (VSN) with 16 hours drying time between coats, for a maintenance cycle of 3 years in a C1 - inland environment.
On skirtings, rails, etc. n.e exceeding 300mm girth | m | 476 |  | 0
PAINTWORK ETC TO PREVIOUSLY PAINTED WORK
ON FLOATED PLASTER
Plascon Professional Superior Matt to interior previously painted cement plaster.Surface to be assessed and the appropriate surface preparation clauses selected for remedial procedure. Prime with two coats Professional Plaster Primer (PP700) with an overcoating time of 16 hours and finish with two coats Professional Super Matt (PEM 900) with 1 hour drying time between coats, for a maintenance cycle of 5 years in a C1 - inland environment.• Environment : C1 - inland• Topcoat : Professional Super Matt• Number of coats of topcoat : two coats• Overcoating time for topcoat : 1,00 hour• Primer/Base coat : Professional Plaster Primer • Overcoating time for primer/base coat : 16,00 hour• Specification document : RD115t.
On internal walls | m2 | 145 |  | 0
Plascon Professional Superior Matt to exterior previously painted cement plaster.Surface to be assessed and the appropriate surface preparation clauses selected for remedial procedure. Prime with one coat Professional Plaster Primer (PP700) with an overcoating time of 16 hours and finish with two coats Professional Superior Matt (PEM 950) with 2 hours drying time between coats, for a maintenance cycle of 7 years in a C1 - inland environment.• Environment : C1 - inland• Topcoat : Professional Superior Matt• Number of coats of topcoat : two coats• Overcoating time for topcoat : 2,00 hour• Primer/Base coat : Professional Plaster Primer • Overcoating time for primer/base coat : 16,00 hour• Specification document : RD107t.
On external walls | m2 | 157 |  | 0
|  | 0.0 |  | 0
FOUNDATIONS | Page | 38 |  | 0
CONCRETE, FORMWORK & REINFORCEMENT | Page | 44 |  | 0
MASONRY | Page | 49 |  | 0
WATERPROOFING | Page | 50 |  | 0
CARPENTRY & JOINERY | Page | 53 |  | 0
IRONMONGERY | Page | 63 |  | 0
METALWORK | Page | 67 |  | 0
PLASTERING | Page | 70 |  | 0
TILING | Page | 73 |  | 0
GLAZING | Page | 74 |  | 0
PAINTWORK | Page | 79 |  | 0
0
SECTION NO. 4
BILL NO. 1
SANITARY FITTINGS ETC
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
SANITARY FITTINGS
Vaal
Vaal Sanitaryware vitreous china "Hibiscus" close coupled 90 degrees outlet open rim front single flush suite complete with lids and fitments (Code 772654) complete with Jazz thermoset toilet seat (code 8531Z0) | No | 6 |  | 0
Vaal Sanitaryware Pearl Paraplegic vitreous china floor mounted paraplegic washdown suite colour White (Code: 730103WH), comprising 90º outlet pan (Code: 750202WH) and matching 9 litre cistern, including lid, fitments and purpose-made chromium plated side flush lever (Code: 7100LLWH). | No | 1 |  | 0
Vaal Sanitaryware Hibiscus vitreous china wall hung basin colour White (Code: 702303WH) with Classic floor mounted pedestal (Code: 715000WH), overall size 510 x 405mm with one taphole including integrated overflow and chainstay hole(basin waste text)(basin waste code prefix)(basin waste code)(basin waste code suffix), bolted to wall with 2No.10mm bolts (Code: 8448Z000) and sealed with silicone sealant where basin meets wall. | No | 6 |  | 0
Vaal Sanitaryware 600 x 385 x 380mm Lavatera top inlet white vitreous china wall mounted urinal (Code: 705426WH) including 38mm chromium plated domical grating and chromium plated top inlet spreader (Code: 8542Z000), flush valve (by others - Recommended: Cobra FJ6000), fixed on and including two hanger brackets (Code: 8127Z000). | No | 3 |  | 0
Franke
Franke Cascade Model CDX651 Grade 304 18/10 polished stainless steel single bowl a overall size 925 x 500mm with one 343 x 410 x 171mm deep bowl and one 160 x 280 x 139mm deep bowl, fitted onto cupboard (elsewhere specified). | No | 2 |  | 0
WASTE UNIONS ETC
Cobra Watertech
Cobra Ref. 316 sink waste with 70mm diameter flange, 45mm long shank, backnut, plug and chain | No | 2 |  | 0
Cobra Watertech 32mm chrome plated anti-theft plug with spindle (Code: 309-32). | No | 6 |  | 0
Cobra Watertech 32mm chrome plated slotted basin waste union (no chain or stay) (Code: 303) | No | 6 |  | 0
TRAPS ETC
Marley
40mm Deep seal "P" or "S" trap | No | 2 |  | 0
Cobra Watertech
Cobra Watertech 40mm chrome plated bottle trap (Code: 365-50) with 75mm deep re-seal, adjustable telescopic pipe and 50mm outlet. | No | 9 |  | 0
0
SECTION NO. 4
BILL NO. 2
SANITARY PLUMBING
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
SANITARY PLUMBING
uPVC, soil and vent pipes
50mm Pipes | m | 10 |  | 0
110mm Pipes | m | 17 |  | 0
50mm Pipes laid in and including trenches not exceeding 1m deep below surface beds | m | 7 |  | 0
50mm Pipes suspended not exceeding 1m below suspension level | m | 5 |  | 0
110mm Pipes laid in and including trenches not exceeding 1m deep below surface beds | m | 10 |  | 0
110mm Pipes suspended not exceeding 1m below suspension level | m | 9 |  | 0
Extra over uPVC, soil and vent pipes for fittings
50mm BSP adaptor | No | 9 |  | 0
50mm Access bend | No | 4 |  | 0
50mm Access junction | No | 3 |  | 0
110mm Pan connector | No | 7 |  | 0
110mm Junction | No | 2 |  | 0
110mm Bend | No | 6 |  | 0
110 x 50 x 110mm Reducing junction | No | 1 |  | 0
110mm Access bend | No | 3 |  | 0
110mm Access junction | No | 2 |  | 0
110 x 110 x 50mm Access reducing junction | No | 1 |  | 0
110 x 50 x 50mm Double reducing access junction | No | 1 |  | 0
110 x 50 x 50mm Double reducing junction | No | 1 |  | 0
110mm Access double junction | No | 2 |  | 0
110mm GI vent valve | No | 1 |  | 0
Sundries
Unreinforced concrete encasing to 50mm horizontal pipe | m | 7 |  | 0
Unreinforced concrete encasing to 110mm horizontal pipe | m | 10 |  | 0
Unreinforced concrete encasing to 110mm vertical bend | No | 6 |  | 0
Unreinforced concrete encasing to 110mm vertical pipe | m | 2 |  | 0
0
SECTION NO. 4
BILL NO. 3
WATER SUPPLIES
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
SUPPLEMENTARY PREAMBLES
Polycop polypropylene pipes:
Polypropylene pipes 54mm diameter and under shall be seamless copper coloured class 16 pipes jointed with "Fast-fuse" heat welded thermoplastic or brass compression fittings as designed for use with copper pipes as stated
Pipes shall be firmly fixed to walls etc with coloured nylon snap-in pipe clips with provision for accommodating thermal movement and jointed and fixed strictly in accordance with the manufacturer's instructions
All pipe diameters are nominal external
Polylink polypropylene pipes:
Polypropylene pipes 63mm diameter and over shall be class 12 pipes jointed with cast iron "Supraclamp" running joints
Fusion welded bends, once or twice mitred as necessary, and tees shall be factory manufactured
Fusion welded bends and tees shall include jointing to pipes with PVC rubber ring double Z joint couplers
Branch tees shall include flanged and bolted joints to "Polycop" branch pipes in addition and for brass compression male iron to copper straight couplers
Reducers shall include jointing to pipes with PVC rubber ring double Z joint couplers and reducers shall be of sufficient overall length to accommodate same
All pipes shall be jointed and fixed strictly in accordance with the manufacturer's instructions
All pipe diameters are nominal external
WATER SUPPLIES
The following in trenches for pipes (pipes e/m)
Excavation not exceeding 2m deep | m3 | 4 |  | 0
Risk of collapse to sides of trench and hole excavations not exceeding 1,5m deep | m2 | 13 |  | 0
Backfilling to trenches, holes, with selected materials supplied by the contractor compacted in 150mm layers to 90% Mod AASHTO density to form fill blanket | m3 | 1 |  | 0
Backfilling to trenches, holes, with earth filling obtained from the excavations supplied by the contractor compacted in 150mm layers to 90% Mod AASHTO density to form fill blanket | m3 | 1 |  | 0
Backfilling to trenches, holes, with selected granular supplied by the contractor materials compacted in 150mm layers to 90% Mod AASHTO density to form bedding cradle | m3 | 2 |  | 0
Extra over all excavations for carting away surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 3 |  | 0
Keeping excavations free of water | Item | 1 |  | 0
Class 12 black HDPE high density polyethylene pipes with and including "Plasson" compression fittings
22mm Pipes laid in trenches not exceeding 1m deep (trench e/m) | m | 7 |  | 0
Extra over class 12 HDPE high density polyethylene pipes for "Plasson" compression fittings
22mm Fittings | No | 4 |  | 0
Class 0 copper pipes with capillary couplings
15mm Pipes | m | 10 |  | 0
Extra over class 0 copper pipes for capillary fittings
15mm Fittings | No | 36 |  | 0
TAPS, VALVES, ETC
Cobra Watertech
Cobra Watertech 15mm MI x FI x 50mm long extension piece (Code: 057-15). | No | 4 |  | 0
Cobra Watertech 15mm chrome plated pillar tap (Code: 503-21B) with blue indice and elbow action lever, manufactured in accordance with SANS 226:2009 Type 2 (BS 5412). | No | 1 |  | 0
Cobra Watertech Chrome Slimline Junior Flushmaster exposed flush valve (Code: FJS6-000), installed in accordance with the manufacturer's recommendations. | No | 3 |  | 0
Cobra Watertech Gala single lever basin mixer (Code: GA-651), manufactured in accordance with SANS 1480-9, installed in accordance with the manufacturers recommendations. | No | 5 |  | 0
Cobra Watertech 15mm angle regulating valve with 10mm bendable copper outlet tube service connection (Code: 232/350). | No | 13 |  | 0
Cobra Watertech Star 15mm chrome plated sink mixer (Code: 266-041-10) with aerated swivel spout and concealed connections, manufactured in accordance with SANS 226:2009 Type 1 (BS 5412). | No | 2 |  | 0
ELECTRIC WATER HEATERS
Franke
Zip stainless steel 10 litre Hydroboil, size 340 x 205 x 630mm high with instant boiling water, two way tap control and under counter triple-action water conditioning system, SK3 drip tray (code: 390019) with brackets, connected to 15mm cold water supply and 220 volt 15 amp electrical power supply, plugged and screwed to wall and fitted under 1 year guarantee | No | 2 |  | 0
FIRE APPLIANCES ETC
Chubb
9kg Dry chemical powder fire extinguisher, including standard hard wood backing plugged and backing finished with one coat dark stain and two coats clear suede polyurethane varnish | No | 2 |  | 0
Everyway hose reel complete with 30m plastic hose, chromium plated stopcock, shut-off nozzle and wall bracket | No | 1 |  | 0
WATER SUPPLIES TO FIRE APPLIANCES
The following in trenches for pipes (pipes e/m)
Excavation not exceeding 2m deep | m3 | 10 |  | 0
Risk of collapse to sides of trench and hole excavations not exceeding 1,5m deep | m2 | 32 |  | 0
Backfilling to trenches, holes, with selected materials obtained from excavations compacted in 150mm layers to 90% Mod AASHTO density to form fill blanket | m3 | 3 |  | 0
Backfilling to trenches, holes, with selected materials supplied by the contractor compacted in 150mm layers to 90% Mod AASHTO density to form fill blanket | m3 | 3 |  | 0
Backfilling to trenches, holes, with selected granular supplied by the contractor materials compacted in 150mm layers to 90% Mod AASHTO density to form bedding cradle | m3 | 4 |  | 0
Extra over all excavations for carting away surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 7 |  | 0
Keeping excavations free of water | Item | 1 |  | 0
Class 12 black HDPE high density polyethylene pipes with and including "Plasson" compression fittings
32mm Pipes laid in trenches not exceeding 1m deep (trenches e/m) | m | 16 |  | 0
Extra over class 12 black HDPE high density polyethylene pipes for "Plasson" compression fittings
32mm Junction | No | 1 |  | 0
32mm Bend | No | 2 |  | 0
32 x 22 x 32mm Reducing junction | No | 1 |  | 0
Galvanised steel pipes
22mm Pipes | m | 2 |  | 0
Extra over galvanised steel pipes for steel fittings
22mm Fittings | No | 2 |  | 0
0
SECTION NO. 4
BILL NO. 4
SOIL DRAINAGE
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
SUPPLEMENTARY PREAMBLES
uPVC pipes and fittings:
Soil, waste and vent pipes and fittings shall be solvent weld jointed
uPVC pressure pipes and fittings:
Pipes for water supply shall be of the class stated
Pipes of 40mm diameter and smaller shall be plain ended with solvent welded uPVC loose sockets and fittings
Pipes of 50mm diameter and greater shall have sockets and spigots with push in type integral rubber ring joints. Bends shall be uPVC and all other fittings shall be cast iron, all with similar push-in type joints
Laying, backfilling, bedding, etc. of pipes
Pipes shall be laid and bedded and trenches shall be carefully backfilled in accordance with manufacturers' instructions
Where no manufacturers' instructions exist pipes shall be laid in accordance with clauses 5.1 and 5.2 of each of the following: SABS 1200 L : Medium-pressure pipelines LD : Sewers LE : Stormwater drainage Pipe trenches etc shall be backfilled in accordance with clauses 3, 5.5, 5.6, 5.7 and 7 of SABS 1200 DB : Earthworks (Pipe trenches) Pipes shall be bedded in accordance with clauses 3.1 to 3.4.1, 5.1 to 5.3 and 7 of SABS 1200 LB : Bedding (Pipes). Unless otherwise described bedding of rigid pipes shall be class B bedding
SOIL DRAINAGE
The following in trenches for pipes (pipes e/m)
Excavation not exceeding 2m deep | m3 | 4 |  | 0
Risk of collapse to sides of trench and hole excavations not exceeding 1,5m deep | m2 | 14 |  | 0
Backfilling to trenches, holes, with selected materials obtained from excavations compacted in 150mm layers to 90% Mod AASHTO density to form fill blanket | m3 | 1 |  | 0
Backfilling to trenches, holes, with selected materials supplied by the contractor compacted in 150mm layers to 90% Mod AASHTO density to form fill blanket | m3 | 1 |  | 0
Backfilling to trenches, holes, with selected granular supplied by the contractor materials compacted in 150mm layers to 90% Mod AASHTO density to form bedding cradle | m3 | 2 |  | 0
Extra over all excavations for carting away surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 3 |  | 0
Keeping excavations free of water | Item | 1 |  | 0
uPVC Underground drain pipes including couplings in the running lengths
110mm Pipes vertically or ramped to cleaning eyes etc (no excavation) | m | 1 |  | 0
110mm Pipes laid in and including trenches not exceeding 1m deep (trenches e/m) | m | 7 |  | 0
Extra over uPVC pipes for fittings
110mm Bend | No | 2 |  | 0
110mm Junction | No | 1 |  | 0
uPVC gulleys
110mm Gulley not exceeding 750mm deep, incl of pre-cast concrete sorround, excavation etc. | No | 2 |  | 0
SUNDRIES
110mm "ABC" cleaning eye end of pipe | No | 1 |  | 0
Cutting into existing 110mm drain pipe for and forming junction with 160mm pipe | No | 2 |  | 0
0
SECTION NO. 4
BILL NO. 5
STORMWATER DRAINAGE
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
SUPPLEMENTARY PREAMBLES
uPVC pipes and fittings:
Soil, waste and vent pipes and fittings shall be solvent weld jointed
uPVC pressure pipes and fittings:
Pipes for water supply shall be of the class stated
Pipes of 40mm diameter and smaller shall be plain ended with solvent welded uPVC loose sockets and fittings
Pipes of 50mm diameter and greater shall have sockets and spigots with push in type integral rubber ring joints. Bends shall be uPVC and all other fittings shall be cast iron, all with similar push-in type joints
Laying, backfilling, bedding, etc. of pipes
Pipes shall be laid and bedded and trenches shall be carefully backfilled in accordance with manufacturers' instructions
Where no manufacturers' instructions exist pipes shall be laid in accordance with clauses 5.1 and 5.2 of each of the following: SABS 1200 L : Medium-pressure pipelines LD : Sewers LE : Stormwater drainage Pipe trenches etc shall be backfilled in accordance with clauses 3, 5.5, 5.6, 5.7 and 7 of SABS 1200 DB : Earthworks (Pipe trenches) Pipes shall be bedded in accordance with clauses 3.1 to 3.4.1, 5.1 to 5.3 and 7 of SABS 1200 LB : Bedding (Pipes). Unless otherwise described bedding of rigid pipes shall be class B bedding
SOIL DRAINAGE
The following in trenches for pipes (pipes e/m)
Excavation not exceeding 2m deep | m3 | 3 |  | 0
Risk of collapse to sides of trench and hole excavations not exceeding 1,5m deep | m2 | 19 |  | 0
Keeping excavations free of water | Item | 1 |  | 0
uPVC Underground drain pipes including couplings in the running lengths
110mm Pipes laid in trenches not exceeding 1m deep (trenches e/m) | m | 32 |  | 0
FILTER FABRIC
Kaytech Engineered Fabric or similar approved laid in strict accordance to the manufacturer's instructions
Kaymat U14 around stone filling in sub-soil drain trenches | m2 | 38 |  | 0
27mm Graded stone filling or similar approved
In holes | m3 | 3 |  | 0
0
SECTION NO. 4
BILL NO. 6
WORK IN CONNECTION WITH SECTION BILL 2 TO 4
BUILDER'S WORK
TESTING
Provide all necessary water, etc., for and test the whole of the plumbing services, sanitary fittings, pumps, etc., and in stages as deemed necessary, including chlorination, complete to the satisfaction of the architect and the local authority, replace any defective work free of charge, including any necessary re-testing and leave in perfect condition upon completion | Item | 1 |  | 0
Allow for testing and commisioning the whole of the plumbing services, sanitary fittings, pumps, etc., including any necessary re-setting, etc., for optimal perfomance of the entire system to duration of the contract, maintenance and guarantee period | Item | 1 |  | 0
AS-BUILT DRAWINGS
Allow for an updated set of as-built drawings to be handed to the architect at completion of the contract | Item | 1 |  | 0
0
SANITARY FITTINGS | Page | 83 |  | 0
SANITARY PLUMBING | Page | 86 |  | 0
WATER SUPPLIES | Page | 92 |  | 0
SOIL DRAINAGE | Page | 96 |  | 0
STORMWATER DRAINAGE | Page | 99 |  | 0
WORK I.C.W BILLS 2 TO 5 | Page | 100 |  | 0
0
SECTION NO. 5
BILL NO. 1
APRONS AROUND BUILDINGS
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
EARTHWORKS
Excavation in earth not exceeding 2m deep
To reduce levels to final levels under aprons and storm water channels | m3 | 63 |  | 0
Rip and scarify ground level to a depth of 150mm and consolidate to 93% mod. AASHTO density at -2% to 1% OMC at bottom of holes not exceeding 2350 x 2350mm wide | m2 | 210 |  | 0
Extra over all excavations for carting away
Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 63 |  | 0
Earth filling of G7 material supplied by the contractor, compacted to 95% Mod AASHTO density
Imported G7 material laid in 150mm thick layers and compacted to 93% mod. AASHTO density. Minimum CBR = 15%, Maximum size 2/3 of layer thickness, PI < 12 or 3 GM + 10; maximum swell 1,5% @ 100% Mod AASHTO. Grading Modules = 2,7 >/= GM >/= 0,75 | m2 | 210 |  | 0
SOIL POISONING
Soil insecticide to be executed with SABS compliance by a firm of specialists under a 5 year guarantee
Under floors etc, including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 210 |  | 0
Weedkiller mixed in accordance to supplier's specifications
Under floors etc including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 210 |  | 0
UNREINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
25 MPa/20 mm concrete
Aprons cast in panels to falls | m3 | 21 |  | 0
Stormwater channels cast in panels | m3 | 11 |  | 0
Finishing top surfaces of concrete smooth with a wood float
Aprons to falls | m2 | 140 |  | 0
Grooves, channels, mortices, sinkings, etc. in concrete
Segmental channel with radius 290mm and minimum depth of 100mm on top of concrete, incl. all excavations, cart away etc. | m | 140 |  | 0
Smooth formwork to sides
Edges, risers, ends and reveals not exceeding 300mm high or wide | m | 280 |  | 0
MOVEMENT JOINTS ETC
Sondor
Sondor Performance Foams Jointex low density (33kg/m³), cross linked, closed cell, expanded polyethylene joint former, size 75 x 10mm thick with tear off strip fitted to concrete surface with adhesive as per adhesive manufacturer's recommendation. | m | 140 |  | 0
Sika Primer-3N one component epoxy polyurethane based primer for joint sealants (Sikaflex-PRO 2HP and Sikaflex 11FC), applied in accordance with the manufacturer's instructions.
10 x 10mm In expansion joints including raking out of expansion joint filler as necessary | m | 140 |  | 0
REINFORCEMENT
Fabric reinforcement
Steeledale Mesh standard square fabric mesh, nominal mass 1,93 kg/m² with nominal 5,6mm thick wires and 200 x 200mm pitch (code 193), complying with SANS 1024/2006 requirements cut 1000mm wide | m | 140 |  | 0
Steeledale Mesh standard square fabric mesh, nominal mass 1,93 kg/m² with nominal 5,6mm thick wires and 200 x 200mm pitch (code 193), complying with SANS 1024/2006 requirements cut 500mm wide and shaped to suit storm water channels | m | 140 |  | 0
0
SECTION NO.5
BILL NO.2
PAVING
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
SUPPLEMENTARY PREAMBLES
Materials and workmanship must be in accordance to the following SABS 1200 specifications:
C | #NAME? | #NAME? |  | #NAME?
Soil poisoning and weed killer
Soil insecticide and weed killer to be executed with SABS compliance by a firm of specialists under a 5 year guarantee under paving
EXCAVATION, FILLING, ETC
Open face excavation in earth over site
Excavate in pickable earth to reduce ground level below paving and set aside for later use | m3 | 120 |  | 0
Excavate in pickable earth to reduce ground level below paving and but cart away excavated material to a dumping place to be found by the contractor (cut to spoil) | m3 | 80 |  | 0
Rip and scarify ground level to a depth of 150mm and consolidate to 93% mod. AASHTO density (minimum CBR 5) | m2 | 400 |  | 0
Extra over excavation for excavation in soft rock | m3 | 3 |  | 0
Extra over excavation for excavation in hard rock | m3 | 3 |  | 0
Walkway layers
The following to be natural selected gravel layers evenly spread and consolidated in layers and dimensions as specified and on the drawings. All thicknesses to be consolidated thicknesses. Where described as "imported" the gravel to be supplied and carted on by the contractor from an approved borrow pit
Selected filling previously set aside laid in 150mm thick layers to 96% mod. AASHTO density, PI </= 6, Grading Modules = 2,6 >/= GM >/= 1,2 | m3 | 120 |  | 0
150mm Thick imported G6 material laid in 150mm thick layers and compacted to 96% mod. AASHTO density, PI </= 6, Grading Modules = 2,6 >/= GM >/= 1,2 | m3 | 80 |  | 0
Mod. AASHTO Density test | No | 10 |  | 0
WALKWAYS
Interlocking paving
60mm Thick double interlocking (DZZ) precast grey coloured concrete paving blocks laid in a herringbone pattern on and including 25mm thick washed river sand founding layer and covered with plaster sandlayer vibrated into joints with a plate vibrator all laid on subgrade conforming to SANS 1200 D Degree Of Accuracy I. Paving to be inspected and re-sanded after three months. | m2 | 400 |  | 0
Weed-killing treatment of surface under paving etc, including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 400 |  | 0
Soil poisoning under floors etc, including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 400 |  | 0
Kerbs, etc
Precast concrete figure 8B kerb (SABS 927), levelled and jointed in 1:5 cement mortar complete with 15Mpa/19mm in situ concrete support blocks size 225 x 150 x 225mm high, at joints at 1,0m centres, including leaving 6mm expansion joints at 10m intervals between kerbs | m | 60 |  | 0
Extra over cutting paving blocks to fit edge | m | 60 |  | 0
Sundries
Mass concrete (25MPa) in 60 x 60mm edge filler strip finished smooth on top with a wood float, including all excavation, formwork, etc | m | 60 |  | 0
0
APRONS AND STORM WATER CHANNELS | Page | 105 | 0 | 0
PAVING, ETC | Page | 109 | 0 | 0
0
SECTION NO. 6
BILL NO. 1
PROVISIONAL AMOUNTS ETC
PROVISIONAL SUMS FOR SELECTED SUB-CONTRACT WORKS
SUPPLEMENTARY PREAMBLES
Piling, etc.
Provide the sum of R1 150 000-00 (one million one hundred and fifty thousand rand) for piling by Specialists | Item | 1 | 1150000 | 1150000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Ceilings and Partitions, etc.
Provide the amount of R450 000.00 (four hundred and fifty thousand rand) for the supply and installation of Ceilings by Specialists | Item | 1 | 450000 | 450000
Allow for profit on above if required | Item | 1 |  | 0
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Air Conditioning and Ventilation Installation:
Provide the sum of R800 000-00 (eight hundred thousand rand) for HVAC Installation by Specialists | Item | 1 | 800000 | 800000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Electrical Installation
Provide the sum of R900 000-00 (nine hundred thousand rand) for Electrical Installation by Specialists | Item | 1 | 900000 | 900000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Fire Detection and Protection
Provide the sum of R300 000-00 (three hundred thousand rand) for Fire Detection System by Specialists | Item | 1 | 300000 | 300000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Signage
Provide the sum of R20 000,00 (twenty thousand rand) for Signage Installation by Specialists | Item | 1 | 20000 | 20000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Cold Room
Provide the sum of R90 000,00 (ninety thousand rand) for the supply and installation of Cold Room by Specialists | Item | 1 | 90000 | 90000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Fume Cabinets
Provide the sum of R150 000,00 (one hundred fifty thousand rand) for the supply and installation of Fume Cabinets by Specialists | Item | 1 | 150000 | 150000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Floor Coverings, etc
Provide the amount of R350 000.00 (three and hundred fifty thousand rand) for the supply and installation Floor Coverings by Specialists | Item | 1 | 350000 | 350000
Allow for profit on above if required | Item | 1 |  | 0
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
CCTV, Access Control and Public Address Control and PA Address
Provide the amount of R690 000.00 (six hundred and ninety thousand rand) for the supply and installation CCTV, Access control and PA System by Specialists | Item | 1 | 690000 | 690000
Allow for profit on above if required | Item | 1 |  | 0
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Precast concrete slabs, etc
Provide the sum of R100 000-00 (one hundred thousand rands) for the supply and installation of pre cast concrete slab by Specialists | Item | 1 | 100000 | 100000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
UPS Installation, etc
Provide the amount of R445 000.00 (four hundred and forty five thousand rand) for the supply and installation CCTV, Access control and PA System by Specialists | Item | 1 | 445000 | 445000
Allow for profit on above if required | Item | 1 |  | 0
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Joinery Installation
Provide a sum of R500 000-00 (five hundred thousand rand) for the supply and installation of Joinery by Specialists | Item | 1 | 500000 | 500000
Allow for profit on above if required | Item | 1 |  | 0
Allow for giving every facility to specialist as described | Item | 1 |  | 0
5945000
SECTION NO 6
BILL NO 2
PROVISIONAL AMOUNTS ETC
PROVISIONAL SUMS FOR SELECTED SUB-CONTRACT WORKS
HOLES THROUGH WALLS
Holes
Leave or form opening through one brickwall for pipe n.e 100mm diameter | No | 2 |  | 0
Leave or form opening through one brickwall for pipe exceeding 100mm and n.e 200mm diameter | No | 2 |  | 0
SLEEVES
Plastic sleeves for pipes not exceeding 100mm diameter
Sleeve not exceeding 250mm long | No | 3 |  | 0
Sleeve exceeding 250mm and not exceeding 500mm long | No | 4 |  | 0
Plastic sleeves for pipes exceeding 100mm and not exceeding 200mm diameter
Sleeve not exceeding 250mm long | No | 2 |  | 0
Sleeve exceeding 250mm and not exceeding 500mm long | No | 4 |  | 0
HOLES ETC
Core drilling of hole for pipe not exceeding 50mm diameter
300mm Reinforced concrete slab, beam, wall, etc | No | 2 |  | 0
Core drilling of hole for pipe exceeding 50mm and not exceeding 100mm diameter
300mm Reinforced concrete slab, beam, wall, etc | No | 2 |  | 0
Core drilling of hole for pipe exceeding 100mm and not exceeding 200mm diameter
300mm Reinforced concrete slab, beam, wall, etc | No | 2 |  | 0
0
PROVISIONAL SUMS | Page | 116 | 0 | 5945000
BUILDER'S WORK | Page | 119 | 0 | 0
PRELIMINARIES | Page | 28 | 0 | 0
ALTERATIONS | Page | 32 | 0 | 0
BUILDINGS | Page | 80 | 0 | 0
PLUMBING & DRAINAGE | Page | 101 | 0 | 0
SITE WORKS | Page | 110 | 0 | 0
Sub Total 1 |  |  |  | 5945000
CONTINGENCY SUM
Allow the amount of R400 000-00 (Four hundred thousand rand) for Contingencies for building work, to be used as directed by the Project Manager and deducted in whole or in part if not required | Item | 1 | 400000 | 400000
SPECIAL CONDITIONS
Provide the sum of R300 000,00 (Three hundred thousand rand) for fluctuations in cost | Item | 1 | 300000 | 300000
Sub Total (VAT EXCL.) CARRIED TO TENDER FORM |  |  |  | 6645000
Tax | TAX | 15% |  | 996750
Sub Total (VAT INCL.) CARRIED TO TENDER FORM |  |  |  | 7641750